## PCR on chip
Chip structure | Driving force | Number of cycles | Single cycle time | Total time | Limit of detection | Flow rate or Temperature change rate | sample volume | Target | Potential to carry out high-throughput test | Reference
Static chamber | negative pressure | 40 | 795s | / | / | / | 10 mL of blood | epidermal growth factor receptor gene mutation | No | A Self-Priming Digital Polymerase Chain Reaction Chip for Multiplex Genetic Analysis
Static chamber | syringe pump | / | / | 8min5s | / | 0.1-2 μl min−1 | 50uL | Porphyromonas gingivalis (P.g), Tannerella forsythia (T.f) a n d Treponema denticola (T.d) | yes | A continuous flow PCR array microfluidic chip applied for simultaneous amplification of target genes of periodontal pathogens
Serpentine channel | liquid pump | 40 | 90s | 72min | / | 0.4µL/min | 5uL | Colla corii asini | No | A Portable Continuous-Flow Polymerase Chain Reaction Chip Device Integrated with Arduino Boards for Detecting Colla corii asini
serpentine microchannel together with spiral structure | syringe pump | 27 | 120s | 56min | / | / | 0.5μL | 3.329 kbp yeast expression vector | yes | Design and fabrication of a two-phase diamond nanoparticle aided fast PCR device
Serpentine channel | syringe pump | 30 | / | / | / | 0.773-0.889 mm/s | / | / | NO | Ease Fabrication of PCR Modular Chip for Portable DNA Detection Kit
Serpentine channel | syringe pump | 25 | 90s | 56min | approximately 102 CFU | 5 mL min-1 | 5ml milk | Escherichia coli O157:H7 | NO | Fabrication of an integrated polystyrene microdevice for pre-concentration and amplification of Escherichia coli O157:H7 from raw milk
Serpentine channel | syringe pump | 40 | 65s | 48min20s | 102 CFU/mL | 0.25mL/min | 12uL | Salmonella | No | Magnetic Bead Chain-Based Continuous-Flow DNA Extraction for Microfluidic PCR Detection of Salmonella
Serpentine channel | syringe pump | / | / | P.g and T.d at least：3′48″,T.f at least：8′25″ | / | / | 2uL | Porphyromonas gingivalis (P.g), Treponema denticola (T.d), and Tannerella forsythia (T.f) | No | Multiplex amplification of target genes of periodontal pathogens in continuous flow PCR microfluidic chip
Static chamber | / | 40 | 60s | ＜1h | 1 copies/μL | / | 5uL | Swine disease | yes | Multiplex and on-site PCR detection of swine diseases based on the microfluidic chip system
Serpentine channel | stepper motor | / | / | 8min | / | 0.001 to 0.02 m/s. | / | bacterial 16S ribosomal DNA | No | Design and fabrication of portable continuous flow PCR microfluidic chip for DNA replication
Static chamber | / | 45 | 60s | 45min* | 50 copies | / | 50uL | HPV | No | A Lab-on-a-Chip Device Integrated DNA Extraction and Solid Phase PCR Array for the Genotyping of High-Risk HPV in Clinical Samples
Static chamber | / | 45 | 75s | 66min 15s | / | heating (15°C/s) and cooling rates (10°C/s) | 10uL | Hepatitis B virus | yes | An Innovative Silicon-chip for Sensitive Real Time PCR Improvement in Pathogens Detection
Serpentine channel | syringe pump | 25 | 15s | <13 min | / | ＜0.5 mL/hr | 10uL | genetic markers | No | A disposable, continuous-flow polymerase chain reaction device: design, fabrication and evaluation
Serpentine channel | syringe pump | 50 | 26s | / | / | / | 10uL | Human Genomic DNA template |  | A Comprehensive Methodology for Design and Development of an Integrated Microheater for on-Chip DNA Amplification
Closed-loop channel | stepper motor | 25 | 31.4s | 13.5 min | / | / | 2uL | 16-loci short tandem repeat sample | No | A circular ferrofluid driven microchip for rapid polymerase chain reaction
Static chamber | / | 30 | 10s | <30 min | / | / | 100uL | Bacillus anthracis\Bordetella pertussis | no | A fully integrated microfluidic genetic analysis system with sample-in–answer-out capability
Closed-loop channel | pneumatic pump | 40 | 15s | 23min | / | / | 12nL | human β-actin gene | no | A nanoliter rotary device for polymerase chain reaction
Spiral channel | self-activated micropump | 40 | 50s | ≈63min* | / | 50 s per cycle. | 20uL | H7N9 | no | A New Self-Activated Micropumping Mechanism Capable of Continuous-Flow and Real-Time PCR Amplification Inside 3D Spiral Microreactor
Static chamber | peristaltic pump | 30 | 75s | 50min | / | 1.5 °C/s for heating and −2.0 °C/s cooling | 20uL | HPV | no | A Point-of-Need infrared mediated PCR platform with compatible lateral flow strip for HPV detection
Serpentine channel | magnetic field | 40 | 1s | 3.6min | / | 3.8 cm/s | 3uL | GAPDH gene | yes | A simple device using magnetic transportation for droplet-based PCR
Closed-loop channel | thermal gradient | / | 42s | 20-30min | / | 2.1 mm s-1 | 25uL | human L32 gene\influenza-A virus\λ-DNA template | no | A Pocket-Sized Convective PCR Thermocycler
Serpentine channel | stepper motor | 35 | 40s | 13min20s | 125 cfu/μl. | 100 V/cm | 50uL | 16S rDNA of periodontal pathogens | no | All-in-one microfluidic device for on-site diagnosis of pathogens based on integrated continuous flow PCR and electrophoresis biochip
Serpentine channel | peristaltic pump | 30 | 10s | ＜5min | / | 5 uL/min | 25uL | mouse GAPDHhousekeeping gene | no | All-plastic, low-power, disposable, continuous-flow PCR chip withintegrated microheaters for rapid DNA amplification
Closed-loop channel | magnetohydrodynamic actuation | 20 | 40s | / | / | 750 mm s-1 | 6uL | rpoB gene of Mycobacterium tuberculosis. | no | Application of magnetohydrodynamic actuation to continuous flow chemistry
Spiral channel | self-activated micropump | 40 | ≈60s | 40min* | / | 8.5uL/min | 40µL | hepatitis B virus | no | Battery Powered Portable Thermal Cycler for Continuous-Flow Polymerase Chain Reaction Diagnosis by Single Thermostatic Thermoelectric Cooler and Open-Loop Controller
Spiral channel | syringe pump | 35 | 120s | 71min* | / | 0.1 cm/s. | 2uL | / | yes | Contamination-Free Continuous Flow Microfluidic Polymerase Chain Reaction for Quantitative and Clinical Applications
Spiral channel | syringe pump | 40 | 60s | ＜120min* | 10 copies | 47µL/min | 0.1-10 uL | / | yes | Continuous flow real-time PCR device using multichannel fluorescence excitation and detection
Serpentine channel | hydrostatic pressure | 30 | / | / | / | 0.006 ml/min | / | / | no | Continuous-Flow DNA Amplification Device Employing Microheaters
Serpentine channel | microfluidic pump | 40 | 33s | 32min* | 10 copies/uL | / | 70uL | RNA virus | no | Continuous-flow, microfluidic, qRT-PCR system for RNA virus detection
Spiral channel | syringe pump | 33 | 3.5min | 122.5min* | / | 0.3 µL/ min | 2uL | Promega （bacterial kanamycin resistance gene） |  | Cylindrical Compact Thermal-Cycling Device for Continuous-Flow Polymerase Chain Reaction
Static chamber | syringe/peristaltic pumps | 35 | 85s | 85min | / | heating rate 6°C/s and cooling rate 4°C/s | 6uL | β-actin gene | yes | Design and experiment of a PDMS‑based PCR chip with reusable heater of optimized electrode
Spiral channel | syringe pump | 27 | 120s | 50min | / | / | 10uL | / | yes | Design and fabrication of a two-phase diamond nanoparticle aided fast PCR device
Spiral channel | syringe pump | 25 | 29s | ≈15min | / | / | 25uL | synthetic pGEM-T vector inserted with a 409 bp gene fragment of the TTF-1 target gene | no | Fabrication of a 3D Teflon microdevice for energy free homogeneous liquid flow inside a long microchannel and its application to continuousflow PCR
Serpentine channel | syringe pump | 30 | / | ＜25min | / | 2 μL/min | 20uL | C. condimenti and E. coli O157:H7 DNA solutions | no | Fabrication of polymerase chain reaction plastic lab-on-a-chip device for rapid molecular diagnoses
Serpentine channel | syringe pump | 20 | / | ≈20min | 0.3×10*4 CFU | 2 μL min-1 | / | E. coli O157:H7 and Salmonella spp. | no | Glass-Polytetrafluoroethylene-Glass Based Sandwich Microdevice for continuous-flow PCR and
Spiral channel | peristaltic pump | / | / | / | / | 3 uL/min | / | / | yes | High-throughput droplet PCR
Static chamber | EWOD-actuation | 25 | 100s | 55min | / | heating rate 38.0◦C/s and cooling rate 7.9◦C/s, | 15uL | Dengue-II virus | yes | Integrated polymerase chain reaction chips utilizing digital microfluidics
Serpentine channel | peristaltic pump | 36 | / | ≈30min | / | 1uL/min | 15uL | human cell lines: BC-3 and IBL-1 | no | KS-Detect – Validation of Solar Thermal PCR for the Diagnosis of Kaposi’s Sarcoma Using Pseudo-Biopsy Samples
Serpentine channel | syringe pump | 25 | / | / | / | ≤ 1 mL/hr | / | / |  | Microscale Thermal Gradient Continuous-Flow PCR: A Guide to Operation
Static chamber | charge pump | 30 | / | / | nmol range | / | 1.2nL | S. aureus | yes | Labonchip-An integrated CMOS quantitative-polymerase-chain-reaction lab-on-chip for point-of-care diagnostics
Serpentine channel | Centrifugal force | 50 | 60s | 110min* | ＜ 10 copies | / | 90uL | methicilin-resistant S. aureus37 (MRSA)中的(ExfA) gene |  | Microstructuring of polymer films for sensitive genotyping by real-time PCR on a centrifugal microfluidic platform
Serpentine channel | syringe pump | 40 | 40s | 30-40min | / | water phase 0.4 mL/h and oil phase 1.2 mL/h | 50uL | hepatitis B virus (HBV) | no | Miniaturized Continuous-Flow Digital PCR for Clinical-Level Serum Sample Based on the 3D Microfluidics and CMOS Imaging Device
Static chamber | Pneumatic pump | 30 | 75s | 47.5min* | / | / | 10uL | beta-Actin gene | yes | MULTI-CHAMBER PCR CHIP WITH SIMPLE LIQUID INTRODUCTION
Closed-loop channel | Magnetic force | 25 | 36s | 20min | 1.63 copies per μL | / | 0.5 μL | Bacteriophage lambda | yes | Nested PCR in magnetically actuated circular closed-loop PCR microchip system
Serpentine channel | syringe pump | 32 | / | / | / | 60uL/min；5mm/s | / | / | no | Novel Fabrication Method of a Microfluidic Continuous Flow PCR
Static chamber | / | 40 | 45s | 35.5min* | / | 20℃/s | 100nL | ebola virus | no | Palm-Sized Device for Point-of-Care Ebola Detection
Closed-loop channel | Magnetic force | 25 | 27s | ＜13min | / | 2.3mm/s | 9uL | soya and maize gene | no | Rapid amplification of genetically modified organisms using a circular ferrofluid-driven PCR microchip
Serpentine channel | Centrifugal force | 35 | 150s | 89.5min* | / | heating rate 0.7 - 0.8 °C/s and cooling rate 0.9 – 1.0 °C/s | 7.5 μ L | Human serum | yes | Rapid and fully automated bacterial pathogen detection on a centrifugal-microfluidic LabDisk using highly sensitive nested PCR with integrated sample preparation
Serpentine channel | syringe pump | 35 | 260s | 165min* | / | 400µL/min | 20uL | C. albicans | no | Rapid Isolation and Concentration of Pathogenic Fungi Using Inertial Focusing on a Chip-Based Platform
Closed-loop channel | piezoelectrically-pumped | 35 | 20s | ＜15min | 5fg/uL | 45 μL/min | 200uL | E.coli DNA | yes | Rapid Real-Time Recirculating PCR Using Localized Surface Plasmon Resonance (LSPR) and Piezo-electric Pumping
Serpentine channel | syringe pump | 20 | 5.2s | 1.7min | / | 1~20 mm/s | / | λ-DNA | no | Rapid PCR in a continuous flow device
Static chamber | motor | 30 | 90s | ＜30min | / | / | 5uL | SSP150 DNA template | yes | Rapid multi sample DNA amplification using rotary-linear polymerase chain reaction device (PCRDisc)
Serpentine channel | syringe pump | 40 | 45s | 40min* | / | 1.7~50 µl/min. | 50uL | Listeria monocytogenes | no | Real-time PCR detection of Listeria monocytogenes using an integrated microfluidics platform
Spiral channel | syringe pump | 30 | 21s | / | 100 copies/mL | 4mm/s | 55uL | Salmonella enterica, Listeria monocytogenes, Escherichia coli O157:H7 and Staphylococcus aureus | yes | Segmented continuous-flow multiplex polymerase chain reaction microfluidics for high-throughput and rapid foodborne pathogen detection
Serpentine channel | Capillary force | 50 | / | ≈30min | / |  | 50uL | β-actin、AH1pdm influenza virus 、Escherichia coli 、influenza virus H1N1 | no | Self-propelled continuous-flow PCR in capillary-driven microfluidic device: Microfluidic behavior and DNA amplification
Serpentine channel | syringe pump | 35 | ≈20s | ＜30min | / | 0.8 mL/min | 10uL | KSHV gene vCyclin | no | Solar thermal polymerase chain reaction for smartphone-assisted molecular diagnostics
In some cases the procedure requires an initial denaturation or final extension process that costs more time than a regular thermal cycle, so the total time is not necessarily the cycle time directly multiplied by the cycle number.
In order to avoid misinterpretation, the cycle time and total time were directly quoted from the reference.
If not,the number was displayed with signal "*"
Calculated or measured flow rate of continuous flow PCR chip, or the temperature changing rate in the case of static PCR chip, was also displayed. The pumping system in some static chip was used to distribute reagents.

## isothermal amplification
Amplification methods | Driving force | Limit of detection | Dynamic range | Amplification time | Total time | Detection | Sample volume | Highlights | Target | Reference
LAMP | centrifuge | 0.5 copies/μL | 0.5~103 copies/μL | 60 min | 70 min | fluorescence signals | 4 μL | RT-LAMP | SARS-CoV-2 | A fully automated centrifugal microfluidic system for__sample-to-answer viral nucleic acid testing
LAMP | capillary forces | Cryptococcus DNA：100 fg/μL Cryptococcus yeast suspension：100 CFU/mL | 1 ng/μL~100 fg/μL 108~102 CFU/mL | 45 min |  | a gel image analysis system | 10μL | lyophilized LAMP reagent | Cryptococcus | A LAMP-based microfluidic module for rapid detection of pathogen in cryptococcal meningitis
LAMP | negative pressure actuation | Escherichia coli：17.15 ng/μL Staphylococcus aureus ：5.67 ng/μL Pseudomonas aeruginosa ：16.47 ng/μL | Escherichia coli：17.15~137.2 ng/μL Staphylococcus aureus ：5.67~34.02 ng/μL Pseudomonas aeruginosa ：16.47~197.58 ng/μL | 1h |  | fluorescence images | 20 ng DNA | LAMP multiple detection | Escherichia coli, Staphylococcus aureus, Pseudomonas aeruginosa | A Microfluidic Chip for LAMP-based Multiplex Detection of Pathogen
LAMP | syringe pump | MYSV：11.1 ng/µL CCYV： 9.6 ng/µL | / | 20-60 min | 60 min | fluorescence images | 3.1 µL | LAMP and RT-LAMP | tomato yellow leaf curl virus， melon yellow spot virus, cucurbit chlorotic yellows virus | A Microfluidic Diagnostic Device Capable of Autonomous Sample Mixing and Dispensing for the Simultaneous Genetic Detection of Multiple Plant Viruses
LAMP | centrifugal force | E. coli O157:H7 DNA :0.0134 ng/μL Salmonella spp. in the sample :12 CFU/ mL | / | 30 min |  | gel electrophoresis | 10 μL | multiple detections | Escherichia coli, Salmonella spp., Staphylococcus aureus, Vibrio parahaemolyticus | A newly developed paper embedded microchip based on LAMP for rapid multiple detections of foodborne pathogens
LAMP | centrifuge | Sau and Sal ： 102copies/μL Sty, Pae, and Eco ： 101copies/μL | / | 50 min | 70 min | a color sensor | 100 μL | Bacteria lysis, LAMP and color detection，multiple detections | Staphylococcus aureus, Shigella, Pseudomonas aeruginosa, Salmonella, enterotoxigenic Escherichia coli | A portable microfluidic analyzer for integrated bacterial detection using visible loop-mediated amplification
LAMP | capillary forces | PEDV and PDCoV：10 genome copies per reaction TGEV：102 genome copies per reaction | PEDV and PDCoV：10~105 copies per reaction TGEV：102~105 copies per reaction | 30 min |  | fluorescence images | 1.4 μL | RT-LAMP | porcine epidemic diarrhea virus, transmissible gastroenteritis virus, porcine deltacoronavirus | A portable, 3D printed, microfluidic device for multiplexed, real time, molecular detection of the porcine epidemic diarrhea virus, transmissible gastroenteritis virus, and porcine deltacoronavirus at the point of need
LAMP | centrifuge | V. parahemolyticus：1.03×10-1 pg/μL V.cholerae：7.00×10-2 pg/μL V. vulnificus：3.28×100 pg/μL Vibrio alginolyticus ：3.62×100 pg/μL Salmonella enterica ：3.00×10-1 pg/μL Shigella flexneri：8.43×100 pg/μL Campylobacter jejuni：4.10×10-1 pg/μL Staphylococcus aureus ：6.14×100 pg/μL Yersinia enterocolitica：3.80×10-1 pg/μL Listeria monocytogenes ：4.17×10-1 pg/μL | 7.92×103~9.54×101 pg | 35 min |  | fluorescence images | 2μL | multiple detections | Campylobacter jejuni, Listeria monocytogenes, Salmonella enterica, Shigella flexneri, Staphylococcus aureus, Vibrio alginolyticus, V.cholerae, V. parahemolyticus, V. vulnificus, Yersinia enterocolitica | A real-time LAMP-based dual-sample microfluidic chip for rapid and simultaneous detection of multiple waterborne pathogenic bacteria from coastal waters
LAMP | disposable air pumps | RVFV, YFV, DNEV-2, and DENV-4 ： 100 copies CHIKV, JEV, DENV-1, and DENV-3 ： 50 copies. | 105~50 copies/μL | 45 min | 50 min | real-time method and colorimetric method | 10 μL | real-time LAMP and colorimetric LAMP | Rift Valley Fever Virus, Chikungunya Virus, Japanese Encephalitis Virus, Yellow Fever Virus, Dengue Virus | A self-powered rapid loading microfluidic chip for vector-borne viruses detection using RT-LAMP
LAMP | centrifuge | 103 copies /μL | 103~106 copies/μL | 30 min |  | fluorescence images | / | s nucleic acid purification, isothermal amplification and real-time fluorescence detection | HPV | An integrated microfluidic detection system for the automated and rapid diagnosis of high-risk human papillomavirus
LAMP | syringe pumps | 1×101 copies/μL | 101~104 copies/μL | 45 min |  | fluorescent detection unit | / | digital LAMP | HBV | An LED-Driven AuNPs-PDMS Microfluidic Chip and Integrated Device for the Detection of Digital Loop-Mediated Isothermal DNA Amplification
LAMP | / | S. aureus：2.25 × 103 copies/μl MRSA：5.32 × 103 copies/μl Shigella：2.89 × 103 copies/μl Klebsiella pneumoniae： 6.53 × 102 copies/μl | / | 53 min |  | fluorescence | 14.5 μL | LAMP VS qPCR | S. aureus, MRSA, Shigella, Klebsiella pneumoniae | Comparative analysis of loop‐mediated isothermal amplification combined with microfluidic chip technology and q‐PCR in the detection of clinical infectious pathogens
LAMP | swung about three times by hand | 100 copies/μL | / | ＜45 min |  | visual inspection | 20 μL | Multiplex Detection,visual detection | porcine epidemic diarrhea virus, transmissible gastroenteritis virus, porcine rotavirus, porcine circovirus type 2 | Development of a Handheld Microfluidic Chip for On-Site Multiplex Detection of Four Porcine Diarrhea-Related Virus
LAMP | / | 50 ng/μL | / | 40 min | 45 min | fluorescent detection unit | 14 μL | Multiplex Detection | carbapenemase-producing organisms | Development of Microfluidic Chip-Based Loop-Mediated Isothermal Amplification (LAMP) Method for Detection of Carbapenemase Producing Bacteria
LAMP | electromagnetically-driven | ~5000 copies (i.e. 200 virus/μL) | 5 × 104~50 copies per reaction | 60 min | 82 min | fluorescent detection unit | 15 μL | Multiple RT-LAMP | SARS-CoV-2 | Electromagnetically-driven integrated microfluidic platform using reverse transcription loop-mediated isothermal amplification for detection of severe acute respiratory syndrome coronavirus 2
LAMP | syringe pump | 5 copies/µL | 5~500,000 copies/reaction | 60 min |  | fluorescence microscope | 1µL | LAMP | a cancer biomarker | Fast Prototyping Microfluidics: Integrating Droplet Digital Lamp for Absolute Quantification of Cancer Biomarkers
LAMP | physical forces | 102 PFU/200 μL of whole blood | 101~105 PFU/mL | 40 min | ＜1 hour | fluorescence | 2 µL | LAMP | dengue virus | Integrated microsystems for in situ genetic detection of dengue virus in whole blood using direct sample preparation and isothermal amplification
LAMP | capillary action | / | / | 30 min |  | color change | 3μL | RT-LAMP | SARS‑CoV‑2 | Integration of RT‑LAMP and Microfluidic Technology for Detection of SARS‑CoV‑2 in Wastewater as an Advanced Point‑of‑Care Platform
LAMP | push pressure | 5×102 CFU mL-1 | 5×101 ~5×105 CFU mL-1 | 60 min | 63 min | fluorescent detection unit | 120～130μL for 18-well chip and 70～75μL for 10-well chip | LAMP | Edwardsiella tarda and Vibrio harveyi | iso-μmGene:Isothermal amplification-based portable microfluidic system for simple, reliable and flexibly multiplexed Genetic identification and quantification
LAMP | centrifuge and capillary action | 10 copies | 1E+4,1E+3,1E+2,1E+1 copies | 50 min |  | fluorescent detection unit | 2.1µL | RPA-LAMP | SARS-CoV-2, Measles Virus | Microfluidic Chip with Two-Stage Isothermal Amplification Method for Highly Sensitive Parallel Detection of SARS-CoV-2 and Measles Virus
LAMP | centrifuge | PEDV:10 copies/μL;PDCoV:10²copies/μL;SADS-CoV:10²copies/μL | 106~100 copies/μL | 60 min |  | fluorescence reading and analysis | 14.8μL | RT-LAMP | Porcine epidemic diarrhea virus, porcine deltacoronavirus, swine acute diarrhea syndrome-coronavirus | Microfluidic-RT-LAMP chip for the point-of-care detection of emerging and re-emerging enteric coronaviruses in swine
LAMP | hydrostatic pressure | 1.0 ng/µL | 10.2 ng/µL down to 1/1000 | 60 min |  | spectra；Raman analysis | 4 μL | LAMP-SERS | Listeria monocytogenes | Multifuntional Gold Nanoparticles for the SERS Detection of Pathogens Combined with a LAMP–in–Microdroplets Approach
LAMP | centrifuge | a genomic detection limit of 0.05 ng/µL in cow, camel, horse, and goat milk and 0.005 ng/µL in yak milk;adulterated milk samples was 2.5% | 8, 5, 0.5, 0.05, 0.005, and 0.0005 ng/µL | 90 min |  | fluorescent | 1 mL | LAMP | multiple authentications of milk | Multiple authentications of high-value milk by centrifugal microfluidic chip-based real-time fluorescent LAMP
LAMP | capillary action or wicking on paper | 0.34 fg/μL RNA | 10~10−4 pg/μL | 40 min |  | naked eye or imaged with a smartphone camera | 1 μL | RT-LAMP | prostate cancer 3 biomarker | On-chip RT-LAMP and colorimetric detection of the prostate cancer 3 biomarker with an integrated thermal and imaging box
LAMP | capillary action | whole blood:44.2 CFU mL-1;drinking water:1.57CFU mL-1;milk:5.51 CFU mL-1 | 0~105 CFU mL-1 | 45 min |  | electrochemical interrogation reaction | 10 μL | LAMP | Salmonella typhimurium | Origami-based “Book” shaped three-dimensional electrochemical paper microdevice for sample-to-answer detection of pathogens
LAMP | centrifuge | 102-103 copies/reaction | 10~106 copies/μL | 30 min |  | fluorescent detection unit | 10 μL | LAMP | COVID-19 | Point-of-care detection of SARS-CoV-2 in nasopharyngeal swab samples using an integrated smartphone-based centrifugal microfluidic platform
LAMP | centrifuge | 3.0 log CFU mL-1 | 2.0~7.0 log CFU mL-1 | 40 min |  | fluorescence signal and optoelectronic converter | 5 µL | LAMP | Candida albicans | Quantitative and specific detection of viable pathogens on a portable microfluidic chip system by combining improved propidium monoazide(PMAxx) and loop-mediated isothermal amplification (LAMP)
LAMP | syringe pump | S. aureus, S. epidermidis, S. hominis, and methicillin-resistant S. aureus (MRSA) were 20 CFU/reaction；S. haemolyticus was 200 CFU/reaction. | S. aureus,S. epidermidis, S. hominis, MRSA:10,000~10 CFU/µL S. haemolyticus:10,000~100 CFU/µL | 50 min | 70 min | fluorescence | 2 µL | LAMP and microfluidics | S. aureus, S. epidermidis, S. hominis, methicillin-resistant S. aureus, S. haemolyticus | Rapid Detection of mecA and femA Genes by Loop-Mediated Isothermal Amplification in a Microfluidic System for Discrimination of Different Staphylococcal Species and Prediction of Methicillin Resistance
LAMP | centrifuge | 10 copies/mL | 10~107 copies/μL | 40 min |  | fluorescence | / | LAMP | SARS-CoV, middle east respiratory syndrome coronavirus, SARS-CoV-2, HCoV-229E, HCoV-OC43, HCoV-NL63, HCoV-HKU1 | Rapid Differential Diagnosis of Seven Human Respiratory
LAMP | driving the motor | 103 to 104 CFU mL-1 | 5×103～5×106 CFU mL-1 | 75 min |  | fluorescence signals | 1 μL | real-time LAMP | Vibrio splendidus | Real-time isothermal amplification based portable microfluidic system for simple and reliable detection of Vibrio splendidus
LAMP | magnetic force | 500 virions/mL | 2.8 × 107~28 virion copies/mL | 45 min |  | naked eye | 100 µL | RT-LAMP | HCV | RT-LAMP-Based Molecular Diagnostic Set-Up for Rapid Hepatitis C Virus T esting
LAMP | centrifuge | bacteria DNA 100 to 10–1 pg/μl；viruses DNA 10–4to 10–5pg/μl | bacteria DNA:10-4~10-2 pg/μL, viruses DNA:100~10–6pg/μL | 50 min |  | fluorescence | 2 μL | dual-sample,LAMP | Aeromonas hydrophila, Edwardsiella tarda, Vibrio harveyi, V. algino-lyticus, V. anguillarum, V. parahaemolyticus, V. vulnificus, infectious hypodermal, haematopoietic necrosis virus, infectious spleen, kidney necrosis virus | Simultaneous detection of multiple bacterial and viral aquatic pathogens using a fluorogenic loop-mediated isothermal amplification-based dual-sample microfluidic chip
LAMP | syringe pump | 100 to 10000 copies/μL | 5.5×104~6.3×106 copies/mL | ＜30 minutes |  | fluorescence | 6.4 μL | LAMP | Streptococcus equi subspecies equi, Streptococcus equi subspecies zooepidemicus, equine herpesvirus 1, equine herpesvirus 4， equine influenza virus | Smartphone-Based Multiplex 30-minute Nucleic Acid Test of Live Virus from Nasal Swab Extract
LAMP | syringe pump | 2 × 101 genome copies/μL | 2×101~2×105 copies/μL | 1 h |  | fluorescence signal | 2 μL | direct-LAMP | SARS-CoV-2 | An internet of things-based point-of-care device for direct reverse-transcription-loop mediated isothermal amplification to identify SARS-CoV-2
LAMP | capillary forces | ASFV synthetic DNAs:30 copies per microliter;mock samples:50 copies per microliter | 3000, 300, 100, 50, 30 and 0 copies | 40~60 min | ＜70 minutes | fluorescence | 1 mL | direct-LAMP | African Swine Fever Virus | Multiplex and visual detection of African Swine Fever Virus (ASFV) based on Hive-Chip and direct loop-mediated isothermal amplification
LAMP | syringe pump | 102 per chamber | 1.32×102~1.32×107 copies | 50 min |  | fluorescence | 1 μL | direct-LAMP | E. coli W, S. Typhimurium, V. parahaemolyticus | Quantification of colorimetric isothermal amplification on the smartphone and its open‑source app for point‑of‑care pathogen detection
LAMP | push pressure | 14 CFU/mL | 1.4×101~1.4×106 CFU/mL | 30 min |  | turbidity of the reaction | 250 μL | LAMP | Viable Salmonella | A lab-on-chip device for sample-in-result-out detection of viable Salmonella using loop-mediated isothermal amplification and real-time turbidity monitoring
RPA | / | Singleplex assays：2.5 × 101 DNA copies, Duplex assay：2.5 × 101 DNA copies for khe and 2.5 × 102 DNA copies for blaNDM-1 | / | 17 min |  | fluorescence measurements | 1 µL | rtRPA | both the organism-specific Klebsiella haemolysin (khe) gene and the New Delhi metallo-β-lactamase 1 (blaNDM-1) gene from ,Klebsiella pneumoniae | 3D Printed Monolithic Microreactors for Real-Time Detection of Klebsiella pneumoniae and the Resistance Gene blaNDM-1 by Recombinase Polymerase Amplification
RPA | positioned upright and simply shaken/capillarity | 1 copy per μL or 30 copies per sample | / | 15 min |  | lateral flow (LF) strip | 30 μL | MI-IF-RPA | COVID-19 | A microfluidic-integrated lateral flow recombinase polymerase amplification (MI-IF-RPA) assay for rapid COVID-19 detection
RPA | vacuum-based self-priming introduction | 10 bacterial cells for each kind of pathogen | / | 30 min |  | fluorescence measurements | 10 μL | integrated multiplex digital recombinase polymerase amplification (ImdRPA) | Escherichia coli, Listeria monocytogenes, Salmonella enterica | A “sample-in-multiplex-digital-answer-out” chip for fast detection of pathogens
RPA | centrifuge | 1 copy/μL | / | 20 min |  | fluorescence measurements | 75 μL | dual-CRISPR/Cas12a-assisted RT-RAA assay and a microfluidic platform | SARS-CoV-2 | Dual-CRISPR/Cas12a-Assisted RT-RAA for Ultrasensitive SARS-CoV-2 Detection on Automated Centrifugal Microfluidics
RPA | centrifuge | S gene：0.68 fM Orf1ab gene：4.16 fM | / | 10 min |  | fluorescence measurements | 1 μL | RTRPA，CRISPR/Cas13a | SARS-CoV-2 | Automated, portable, and high-throughput fluorescence analyzer (APHF-analyzer) and lateral flow strip based on CRISPR/Cas13a for sensitive and visual detection of SARS-CoV-2
RPA | centrifuge | 1.02 × 100 copies/μL | 1.02 × 100~2.04 × 103 copies | 20 min |  | fluorescence measurements | 2.5 μL | cdRT-RAA | norovirus | Development of a novel RAA-based microfluidic chip for absolute quantitative detection of human norovirus
RPA | / | 1 copy/reaction | / | 5~10 min |  | fluorescence measurements | 5 μL | digital RPA/hydrogel RPA (gRPA) | L. monocytogenes | Digital recombinase polymerase amplification in hydrogel nanofluidic chip for ultrafast and precise quantification of pathogens in fresh food
RPA | / | human papillomavirus (HPV) 16 DNAs ：10 copies human papillomavirus (HPV) 18 DNAs : 100 copies | / | 15 min |  | fluorescence measurements | / | RPA and CRISPR-Cas12a | HPV | Dynamic Aqueous Multiphase Reaction System for One-Pot CRISPR-Cas12a-Based Ultrasensitive and Quantitative Molecular Diagnosis
RPA | syringe pump | / | / | 10~30 min |  | agarose gel electrophoresis | 1 μL | Printed circuit board (PCB) technology | E. coli | Isothermal Recombinase Polymerase Amplification (RPA) of E. coli gDNA in Commercially Fabricated PCB-Based Microfluidic Platforms
HDA | push pressure | 10 CFU | 105~101 CFU | 30 min | 50 min | fluorescent reporter | 50 ng DNA | HDA and Solid phase extraction | E. coli | An integrated disposable device for DNA extraction and helicase dependent amplification
HDA | / | 100 CFU | 3 and more than 100,000 CFU per swab | 60 min |  | chip image | 5μL | HDA | Staphylococcus aureus | Direct detection of nasal Staphylococcus aureus carriage via helicase-dependent isothermal amplification and chip hybridization
HDA | / | 1 CFU | 1~250 CFU per reaction | 45 min | ＜75 min | colorimetric intensity changes | 2 μL | HDA | mecA Gene | Staph ID/R: a Rapid Method for Determining Staphylococcus Species Identity and Detecting the mecA Gene Directly from Positive Blood Culture
HDA | / | 1.25×10-2 pg | 125~2.5×10-3 pg | 30 min | 45 min | Polyacrylamide Gel Analysis | 5 mL | HDA | Clostridium difficile | Low Cost Extraction and Isothermal Amplification of DNA for Infectious Diarrhea Diagnosis
HDA | syringe pumps | 10 cells | below 500 cells | 30 min | ＜86 min | gel electrophoresis | 100 μL | HDA | foodborne pathogen | A modular integrated lab-on-a-chip platform for fast and highly efficient sample preparation for foodborne pathogen screening