Fig. S1 Schematic drawing of the aerosol chamber (length × width × height, 70 cm × 60 cm × 60 cm). The collision nebulizer and the Andersen sampler were connected to the air inlet and outlet, which were located on the left and right sidewalls of the aerosol chamber, respectively. A fan and a UV light were installed at the top wall for mixing the Pal aerosol well inside the chamber and sterilization, respectively. The door was fixed at the front wall with six screws, and a silicone pad was applied to ensure that the chamber was airtight.