Figure 1  Tradeoffs in complexity for in vitro models. Figure courtesy of AstraZeneca

Figure 2  HUMIMIC Chip exploded view (Author: TissUse GmbH, License: CC BY-ND 4.0).

Figure 3 Diclofenac  Drug Toxicity illustrated by IC50 results for different assays

Figure 4   IC50 values for Liver models

| Model | Flow rate | Chamber volume | Metabolism | Diclofenac IC50 |
| --- | --- | --- | --- | --- |
| Static (no flow) | N/A | 0.2mL | CYP down regulated | 590uM |
| Lee et al | 10nL/min | 0.01mL | low | 334uM |
| Tonon & Giobbe |  | 0.007mL | CYP3A4 varies | No data |
| Tomlinson |  | 4.5mL | CYP3A4 Physiological |  |
| Vozzi | 100uL/min | 1.5mL | CYP3A4 up regulated | 50uM |
| Vinci | 250uL/min | 1.5ml | CYP3A4 up regulated |  |
| Clinical Data | N/A | N/A | Physiological | 4.2uM |

Figure 5  Comparison of TissUse GmbH, and Kirkstall Ltd.,  and Emulate Inc. OOAC Features

| Developer | TissUse | Kirkstall | Emulate |
| --- | --- | --- | --- |
| Chamber size | 24 well | 24 well | Customised |
| Plate size | Thicker plate | Standard well plate | Custom design |
| Tube diameter/height | 300um | 1mm to 2mm | 0.75mm |
| Pump | Custom pneumatic | peristaltic | unknown |
| Optical clarity | good | good | poor |
| Manufacture | machining | 3D print and injection moulding | PDMS mould |
| Chamber to chamber distance | 2cm | 3cm | Single chamber |
| Chamber volume | 1.5mL | 0.5mL to 2.5mL | 0.02mL |
| Medium reservoir | 2mL | 2ml to30mL | None |

Figure 6  Sensitivity vs Specificity for Assays