Artificial Intelligence/Deep Learning Model for Quantitation of Neutrophils 
in Hematoxylin and Eosin Stained Tissues

A. Image Processing

Digitized images (resolution of 0.101563 μm/pixel & 0.20727 μm/pixel) were uploaded to the Aiforia™ image processing and management platform (Aiforia Inc., Cambridge, MA, USA) for analysis with deep learning convolutional neural networks (CNNs) and supervised learning.

B. AI Model Training:

Training images: A supervised convolutional neural network (CNN) was trained on annotations from digitized H&E-stained kidney, bladder, uterus, cervix and vagina sections to recognize total Neutrophil-positive staining. The algorithm was trained on the most diverse and representative 53 whole-slide images (31% of the total datasets) to create a generalizable AI model capable of accurately detecting Neutrophil-positive staining. Diverse training data were included to capture the variability in image/staining quality.  We also chose slides with known artifacts (lint, bubbles etc.) and trained the AI model to exclude them from analysis as background

AI model design and ground truth definitions: The AI model consisted of multiple feature layers, with each feature layer containing unique classes that were annotated for CNN input training data. The AI model consisted of 2 feature layers: 1. Tissue annotated using semantic segmentation to distinguish the total tissue from the glass slide, non-kidney tissue, and artifact; 2. Neutrophils were annotated using an object detector size of 6 μm in diameter to distinguish neutrophil positive staining from non-neutrophil cells and tissue background. The Tissue and Neutrophil layers were then merged into a chained analysis pipeline, where segmentation results from the first layer (Tissue) were used as a clipping mask in the next layer (Neutrophil), and so on, to count total neutrophil positive staining across each total tissue section. 

Example training annotations for tissue and neutrophils:

Additional AI model training parameters: Individual CNNs were trained for each layer using the image augmentation parameters, perceptive view (field of view), and level complexity summarized in Table 1.

Table 1: CNN Image Augmentation Parameters, Field of View, and Complexity

|  | Layer 1: Tissue | Layer 2: Neutrophil count |
| --- | --- | --- |
| Scale (max/min) | -20/20 | -1/1.01 |
| Aspect Ratio | 20 | 1 |
| Maximum Shear | 20 | 1 |
| Luminance (max/min) | -20/20 | -1/1.01 |
| Contrast (max/min) | -20/20 | -1/1.01 |
| Max. white balance change | 3 | 1 |
| Noise | 2 | 0 |
| Field of View | 154.8 μm | NA |
| Complexity | Very complex | Extra Complex |

C. AI model performance: 

Verification: The Tissue layer was trained for 25,000 iterations on approximately 586.15 mm2 and the resulting AI model performed at a total verification error rate of approximately 0.12%. The Neutrophil layer was trained for 25,000 iterations on 2,426 object annotations and the resulting AI model performed at a total verification error rate of 3.05% compared to the input training annotations. 

Validation:  The Neutrophil AI model was tested against annotations from 6 blinded individual board certified veterinary pathologist validators (BW, GB, LS, RR, YH, GA) for non-inferiority (58 validation regions; 12 images). Validation images included samples from bladder, kidney, uterus, cervix and vagina and represented the full spectrum of histologic changes related to the neutrophil feature variability.  Inter-operator agreement was reported for both human-human and AI-human comparisons and included percentages for total error, false positive, false negative, precision, sensitivity, and F1-score. The AI-human scores were non-inferior to human-human suggesting the AI is performing to the same standard as human researchers and results are summarized in the Table 2.

Table 2: Error, Precision, Sensitivity, F1-score AI vs. Humans

|  | AI vs Human | Human vs Human |
| --- | --- | --- |
| False Positive % | 15.56 | 17.79 |
| False Negative % | 20.53 | 23.08 |
| Error % | 38.12 | 40.94 |
| Precision % | 75.12 | 77.40 |
| Sensitivity % | 79.47 | 77.40 |
| F1-Score % | 86.57 | 86.81 |