# Optimized Protocol for Quantification of Extracellular Nicotinamide Adenine Dinucleotide (eNAD+) in Plasma: Evaluating Clinical Correlations and Pre-analytical Factors for Clinical and Translational Research

# Supplementary Protocol: eNAD+ Extraction and Quantification in Plasma SOP

# The purpose of this standard operation procedure (SOP) is to outline the procedure for extraction and quantification of extracellular Nicotinamide Adenine Dinucleotide (eNAD+) in plasma samples.

| Reagent | Components | Catalog No. |
| --- | --- | --- |
| Master Mix To be prepared by the user just before use | Alcohol Dehydrogenase (ADH): 1:10 dilution of ADH Solution in DEPC-Water | A7011 |
|  | Triethanolamine (TEA): 1:10 dilution of TEA in DEPC-Water, pH 7.4 | 90279 |
|  | Ethanol (EtOH): 100% | 51976 |
|  | Phenazine methosulfate (PMS): 10 mg/mL solution | P9625 |
|  | 3-(4,5-dimethylthiazol-2-yl)-2,5-diphenyltetrazolium bromide (MTT): 1 mg/mL solution | M2128 |
| Standard Matrix Solution To be mixed by the user, aliquoted and stored at -20°C | Sodium chloride (NaCl) |  |
|  | Sodium bicarbonate (NaHCO3) |  |
|  | Sodium carbonate (Na2CO3) |  |
|  | Potassium chloride (KCl) |  |
|  | Monopotassium phosphate (KH2PO4) |  |
|  | Magnesium chloride hexahydrate (MgCl2•6H2O) |  |
|  | 2-[4-(2-hydroxyethyl)piperazin-1-yl] ethane sulfonic acid (HEPES) |  |
|  | Calcium chloride dihydrate (CaCl2•2H2O) |  |
|  | Sodium sulfate (Na2SO4) |  |
|  | Bovine serum albumin (BSA) |  |
| NAD+ Standard | Nicotinamide adenine dinucleotide (β-NAD) | N0632 |
| NAD+ Extraction buffer | 0.3N HCl | 339253 |
| NAD+ Neutralization buffer | 0.36N TEA-HCl: 0.6N KOH (ratio 1:1) | 90350, 221473 |

# Procedure:

- Blood Collection

  - Use a 21 G cannula to collect blood into heparin tubes.

- Sample Processing

  - Centrifuge blood samples at 2500 g for 15 minutes at 4 °C to separate corpuscular blood components from plasma.

  - Aliquot plasma, snap freeze, and store at -80 °C.

- Sample Preparation:

  - Retrieve heparin plasma samples from -80°C freezer.

  - Allow the samples to thaw at room temperature (Note: NAD+ is stable for up to 30 minutes at room temperature).

- eNAD+ Extraction:

  - Transfer 300μL of each thawed plasma sample into a fresh tube.

  - Add 300 μL of 0.3N HCl to each tube, vortex, and incubate at 60 °C for 10 min.

  - Equilibration:

    - Cool samples on ice for 10 min.

  - Neutralization (Neutralize the samples to achieve the optimal working pH of 7.4 for ADH):

    - Neutralize samples with 300 μL of neutralization buffer (1:1 0.36N TEA-HCl and 0.6N KOH).

  - Deproteinization:

    - Centrifuge samples at 16,000 g for 10 min at 4 °C to remove any proteins.. Sample Loading:

  - Sample loading:

    - Carefully load 50 μL the clear supernatant without disturbing the pellet of each sample into the wells of a 96-well plate.

- eNAD+ Quantification

  - Prepare the Master Mix (MM) solution containing TEA (diluted 1:10 with DEPC-H2O), DEPC-H2O, EtOH, PMS, MTT, and ADH (diluted 1:10 with DEPC-H2O) in this order. Prepare the master mix directly before assay measurement.

  - Load 50 µL of r-SBFA into the corresponding wells for standards and Quality controls and 50 µL into the corresponding wells for samples.

  - Load standard solutions (S1 (0.753 µM) to S6 (0.0235 µM)), Quality Controls (QCs), and samples onto appropriate wells.

  - Add 150 μL of the MM into each well.

  - Measure sample absorbance at 565 nm in the microplate reader at 25 °C. Perform all measurements in duplicate and repeat assay runs at least 3 times.

- NAD+ Calibration Curve

  - Plot the first derivative of absorbance (vR) against the theoretical standard concentration.

  - Use a linear regression line through the origin for the calibration curve.

  - Use the equation from the linear regression to calculate the eNAD+ concentration in plasma samples.

- Preparation of β-NAD+ Standard Calibration Solutions

  - Prepare primary stock solutions for calibration curve standard samples (S1-S6) and eNAD+ quality control samples (QC1-QC6) using a concentration of 1 µg/mL.

  - Obtain S1 by diluting 500 µL of β-NAD working stock solution in 500 µL DEPC-H2O. Prepare five additional serial dilutions for S2-S6.

  - Prepare quality control samples using the same procedure.

|  | NAD+ Concentration (µM) |
| --- | --- |
| S1 / QC1 | 0.7536 |
| S2 / QC2 | 0.3768 |
| S3 / QC3 | 0.1884 |
| S4 / QC4 | 0.0942 |
| S5 / QC5 | 0.0471 |
| S6 / QC6 | 0.02355 |

Storage:

Store the extracted NAD+ samples at -80°C for long-term storage.