Table 3: Comparison of different odor capture systems suitable for both canine olfaction and GC-MS analysis

| Sampling device | Sampling source | Dog compatibility | score | Pollution emitted by the device | score | Composition | score | GC-MS injection | score | Device storage/VOC preservation | score | Sum/10 | Reference |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Getxent® tubes | sweat | yes | 2 | ready-to-use | 2 | Patented polymer, adsorption of VOC | 2 | extraction step required** (possible loss of VOC) | 1 | stored up to 6 months at -20°C [supplier sources] | 2 | 9 | [1], [2] |
| Sorbstar® | sweat | yes | 2 | ready-to-use | 2 | Patented polymer, adsorption of VOC | 2 | direct TD injection | 2 | stored at 4°C, storage time is unknown | 0 | 8 | [3]–[5] |
| PDMS-based patch (Sorptive tape extraction) | sweat | yes (presented to dogs in cleaned* metal cans [21]-[23]) | 2 | need to be conditioned | 1 | PDMS, adsorption of VOC | 2 | direct TD injection | 2 | stored at 4 °C for no more than 24h [108], no more than 72h [107] | 1 | 8 | [6]–[9] |
| Twister (SBSE) | sweat | conceivable (similar size as the Sorbstar® tube) | 1 | need to be conditioned (can be reused) | 1 | PDMS, adsorption of VOC | 2 | direct TD injection | 2 | stored at 4°C, no longer than 14 days [supplier sources] | 1 | 7 | sweat sampling [10] |
| PDMS tube (wristband) | sweat | conceivable (easy to handle, size similar to Getxent® tubes) | 1 | need to be conditioned | 1 | PDMS, adsorption of VOC | 2 | direct TD injection | 2 | stored in aluminum foil at 4 °C for no more than 48 h before analysis [106] | 1 | 7 | [11] |
| Gauzes (in direct contact with the skin or sampled with STU-100 tool used in forensic) | sweat | yes | 2 | need to be conditioned | 1 | cellulose fibers (cotton), absorption of VOC | 1 | extraction step required** (possible loss of VOC) | 1 | gauzes stored at -20°C up to 6 months [46], gauzes stored in resealable polyethylene bags for two weeks [54] | 2 | 7 | [12]–[14], related to STU100 [15]–[17] |
| Chirurgical face masks | Breath, Exhaled Breath Condensate | yes | 2 | need to be conditioned | 1 | cellulose fibers (cotton), absorption of VOC | 1 | extraction step required** (possible loss of VOC) | 1 | face masks stored at 4°C no longer than a week [45] | 1 | 6 | [18], [19] |
| Clothes (T-shirt or socks) | sweat | yes | 2 | need to be washed with a neutral soak | 1 | cellulose fibers (cotton), absorption of VOC | 2 | extraction step required** (possible loss of VOC) | 1 | stored at -12°C, storage time is unknown [115] | 0 | 6 | T-shirt [20], [21], socks [22] |

* Cleaned with pentane and subsequently baked at 150◦C for 2h.

** Extraction can be carried out by solvent, static HS, DHS or SPME

The rating criteria are the following:

- Dog compatibility. If the device is already used in forensic or in another context as an aid for detection dogs training, the score is 2/2. If the device has not been tested with dogs yet, it provides a score of 1/2.

- Pollution/VOC emitted by the device itself. To eliminate VOC released by the device itself, materials must be conditioned before use. If the device is already clean and ready-to-use, the score obtained is 2/2. If it needs to be conditioned before use, 1/2 is attributed.

- Composition. If the device consists of an absorbent support (like a cotton gauze or a T-shirt), the score of 1/2 is given. If the material is made of a particular polymer commonly used in analytical chemistry and which allows the adsorption/desorption of VOC, a score of 2/2 is attributed.

- GC-MS injection. If the thermal desorption (TD injection) is possible, the score of 2/2 is attributed. If an extraction step is necessary, the score of 1/2 is given.

- Device storage/VOC preservation. The score of 2/2 is attributed for “long time” storage (>14 days). For a shorter storage time (<14 days), the score of 1/2 is given. No recommendations found in the literature gives 0/2.

References

[1]	D. Grandjean et al., “Can the detection dog alert on COVID-19 positive persons by sniffing axillary sweat samples? A proof-of-concept study,” PLoS One, vol. 15, no. 12 December, Dec. 2020, doi: 10.1371/journal.pone.0243122.

[2]	D. Grandjean et al., “Identifying SARS-COV-2 infected patients through canine olfactive detection on axillary sweat samples; study of observed sensitivities and specificities within a group of trained dogs,” PLoS One, vol. 17, no. 2, Feb. 2022, doi: 10.1371/journal.pone.0262631.

[3]	V. Cuzuel, “Développement d’une stratégie de caractérisation chimique de la signature odorante d’individus par l’analyse chimiométrique de données issues de méthodes séparatives multidimensionnelles.” [Online]. Available: https://tel.archives-ouvertes.fr/tel-01680821v2

[4]	V. Cuzuel et al., “Origin, Analytical Characterization, and Use of Human Odor in Forensics,” J Forensic Sci, vol. 62, no. 2, pp. 330–350, Mar. 2017, doi: 10.1111/1556-4029.13394.

[5]	V. Cuzuel et al., “Sampling method development and optimization in view of human hand odor analysis by thermal desorption coupled with gas chromatography and mass spectrometry,” Anal Bioanal Chem, vol. 409, no. 21, pp. 5113–5124, Aug. 2017, doi: 10.1007/s00216-017-0458-8.

[6]	R. Jiang, E. Cudjoe, B. Bojko, T. Abaffy, and J. Pawliszyn, “A non-invasive method for in vivo skin volatile compounds sampling,” Anal Chim Acta, vol. 804, pp. 111–119, Dec. 2013, doi: 10.1016/j.aca.2013.09.056.

[7]	W. A. MacCrehan, M. Young, and M. M. Schantz, “Measurements of vapor capture-and-release behavior of PDMS-based canine training aids for explosive odorants,” Forensic Chemistry, vol. 11, pp. 58–64, Dec. 2018, doi: 10.1016/j.forc.2018.09.002.

[8]	W. MacCrehan, M. Young, M. Schantz, T. Craig Angle, P. Waggoner, and T. Fischer, “Two-temperature preparation method for PDMS-based canine training aids for explosives,” Forensic Chemistry, vol. 21, Dec. 2020, doi: 10.1016/j.forc.2020.100290.

[9]	A. G. Simon, K. Van Arsdale, J. Barrow, and J. Wagner, “Real-time monitoring of TATP released from PDMS-based canine training aids versus bulk TATP using DART-MS,” Forensic Chemistry, vol. 23, May 2021, doi: 10.1016/j.forc.2021.100315.

[10]	H. A. Soini, K. E. Bruce, I. Klouckova, R. G. Brereton, D. J. Penn, and M. V. Novotny, “In situ surface sampling of biological objects and preconcentration of their volatiles for chromatographic analysis,” Anal Chem, vol. 78, no. 20, pp. 7161–7168, Oct. 2006, doi: 10.1021/ac0606204.

[11]	M. Wooding, E. R. Rohwer, and Y. Naudé, “Non-invasive sorptive extraction for the separation of human skin surface chemicals using comprehensive gas chromatography coupled to time-of-flight mass spectrometry: A mosquito-host biting site investigation,” J Sep Sci, vol. 43, no. 22, pp. 4202–4215, Nov. 2020, doi: 10.1002/jssc.202000522.

[12]	E. Sinclair et al., “Validating differential volatilome profiles in Parkinson’s disease,” ACS Cent Sci, vol. 7, no. 2, pp. 300–306, Feb. 2021, doi: 10.1021/acscentsci.0c01028.

[13]	D. K. Trivedi et al., “Discovery of Volatile Biomarkers of Parkinson’s Disease from Sebum,” ACS Cent Sci, vol. 5, no. 4, pp. 599–606, Apr. 2019, doi: 10.1021/acscentsci.8b00879.

[14]	A. M. Curran, P. A. Prada, and K. G. Furton, “The differentiation of the volatile organic signatures of individuals through SPME-GC/ms of characteristic human scent compounds,” J Forensic Sci, vol. 55, no. 1, pp. 50–57, Jan. 2010, doi: 10.1111/j.1556-4029.2009.01236.x.

[15]	R. A. Stockham, D. L. Slavin, and B. Handler, “Specialized Use of Human Scent in Criminal Investigations.”

[16]	A. M. Curran, P. A. Prada, and K. G. Furton, “Canine human scent identifications with post-blast debris collected from improvised explosive devices,” Forensic Sci Int, vol. 199, no. 1–3, pp. 103–108, Jun. 2010, doi: 10.1016/j.forsciint.2010.03.021.

[17]	L. E. Degreeff and K. G. Furton, “Collection and identification of human remains volatiles by non-contact, dynamic airflow sampling and SPME-GC/MS using various sorbent materials,” Anal Bioanal Chem, vol. 401, no. 4, pp. 1295–1307, Sep. 2011, doi: 10.1007/s00216-011-5167-0.

[18]	P. Devillier et al., “Biomedical detection dogs for the identification of SARS-CoV-2 infections from axillary sweat and breath samples∗∗,” J Breath Res, vol. 16, no. 3, Jul. 2022, doi: 10.1088/1752-7163/ac5d8c.

[19]	J. Mendel et al., “Preliminary accuracy of COVID-19 odor detection by canines and HS-SPME-GC-MS using exhaled breath samples,” Forensic Sci Int, vol. 3, Jan. 2021, doi: 10.1016/j.fsisyn.2021.100155.

[20]	S. Haze et al., “2-Nonenal Newly Found in Human Body Odor Tends to Increase with Aging.”

[21]	M. Gallagher, C. J. Wysocki, J. J. Leyden, A. I. Spielman, X. Sun, and G. Preti, “Analyses of volatile organic compounds from human skin,” British Journal of Dermatology, vol. 159, no. 4, pp. 780–791, Oct. 2008, doi: 10.1111/j.1365-2133.2008.08748.x.

[22]	C. Guest et al., “Trained dogs identify people with malaria parasites by their odour,” The Lancet Infectious Diseases, vol. 19, no. 6. Lancet Publishing Group, pp. 578–580, Jun. 01, 2019. doi: 10.1016/S1473-3099(19)30220-8.