Table 1. Characteristic Np absorption bands by oxidation state

| Oxidation state | Primary absorption bands (nm) |
| --- | --- |
| Np(III) | 555, 601, 658, 782, 847, 979, 1,355 |
| Np(IV) | 494, 522, 700, 714, 802, 933, 953, 972, 1,138 |
| Np(V) | 476, 616, 980, 1,097 |
| Np(VI) | 557, 1,223 |

Table 2. Prediction statistics for the KS-PLS2 model and M-PLS-2 models

| KS CAL model | Np(VI) | Np(V) | Np(IV) | Np(III) |
| --- | --- | --- | --- | --- |
| RMSEP | 0.0050 | 0.0115 | 0.0110 | 0.0045 |
| SEP | 0.0047 | 0.0117 | 0.0114 | 0.0047 |
| Bias | 0.00205 | −0.00196 | 0.000163 | −0.00043 |
| M-PLS-2 model | Np(VI) | Np(V) | Np(IV) | Np(III) |
| RMSEP | 0.0064 | 0.0131 | 0.0125 | 0.0074 |
| SEP | 0.0065 | 0.0131 | 0.0129 | 0.0075 |
| Bias | 0.00113 | 0.003241 | −0.00589 | −0.00153 |

Figures

Figure 1. Np(III/IV/V/VI) absorption spectra generated from the sequential step from Np(VI) to Np(III): (a) Vis, (b) NIR, and (c) fused spectra.

Figure 2. 3D scatter plot of the scores for principal component (PC)-1, PC-2, and PC-3. Sample selected by the KS algorithm are shown as the red squares. Location of pure Np oxidation states are noted as the end points and vertex points.

Figure 3. PLS-2 regression model parity plots (Factor-3) for the calibration and cross validation data from the KS-selected NIR spectra for the normalized concentrations of (a) Np(VI), (b) Np(V), (c) Np(IV), and (d) Np(III).

Figure 4. Comparing PLSR model Np(VI), Np(V), Np(IV), and Np(III) normalized concentration predictions by (a) KS-PLS2-NIR model and (b) M-PLS-2 model.

Figure 5. PLSR predictions during the oxidizing scan from Np(III) to Np(VI).