## Sheet1
Facility | Authors | Title | Publication Date | Journal | DOI | Volume Average Dose (Gy) | Peak Dose (Gy) | Valley Dose (Gy) | % Peak Dose | % Valley Dose | PVDR | Width (um) | Spacing (um) | Valley Width (um) | Result |  |  |  | NTSS
Grenoble, France; INSERM, U836, Grenoble, France; Universite ́ Joseph Fourier, Grenoble Institut des Neurosciences, Grenoble, France; Oncodesign Biotechnology, Dijon, France; Department of Medical Physics, Karolinska Hospital, Stockholm, Sweden; kUniversite ́ de Toulouse; UPS, Toulouse, France; Centre de Recherche Cerveau et Cognition, France; CNRS; CerCo, Toulouse, France; Faculty of Pharmacy, University of Jordan, Amman, Jordan; and Institute of Pathology, University of Bern, Switzerland | AUDREY BOUCHET, BENJAMIN LEMASSON, GERALDINE LE DUC, CECILE MAISIN, ELKE BRAUER-KRISCH, ERIK ALBERT SIEGBAHN, LUC RENAUD, ENAM KHALIL, CHANTAL RE ́ MY, CATHY POILLOT, ALBERTO BRAVIN, JEAN A. LAISSUE, EMMANUEL L. BARBIER, AND RAPHAEL SERDUC | Preferential Effect of Synchrotron Microbeam Radiation Therapy on Intracerebral 9L Gliosarcoma Vascular Networks | 2010 | International Journal of Radiation Oncology*Biology*Physics | 10.1016/j.ijrobp.2010.06.021 | 96.875 | 350 | 12.5 | 0.25 | 0.75 | 28 | 50 | 200 | 150 | No changes |  |  |  | 5
Grenoble, France; INSERM, U836, Grenoble, France; Universite ́ Joseph Fourier, Grenoble Institut des Neurosciences, Grenoble, France; Oncodesign Biotechnology, Dijon, France; Department of Medical Physics, Karolinska Hospital, Stockholm, Sweden; kUniversite ́ de Toulouse; UPS, Toulouse, France; Centre de Recherche Cerveau et Cognition, France; CNRS; CerCo, Toulouse, France; Faculty of Pharmacy, University of Jordan, Amman, Jordan; and Institute of Pathology, University of Bern, Switzerland | AUDREY BOUCHET, BENJAMIN LEMASSON, GERALDINE LE DUC, CECILE MAISIN, ELKE BRAUER-KRISCH, ERIK ALBERT SIEGBAHN, LUC RENAUD, ENAM KHALIL, CHANTAL RE ́ MY, CATHY POILLOT, ALBERTO BRAVIN, JEAN A. LAISSUE, EMMANUEL L. BARBIER, AND RAPHAEL SERDUC | Preferential Effect of Synchrotron Microbeam Radiation Therapy on Intracerebral 9L Gliosarcoma Vascular Networks | 2010 | International Journal of Radiation Oncology*Biology*Physics | 10.1016/j.ijrobp.2010.06.021 | 96.875 | 350 | 12.5 | 0.25 | 0.75 | 28 | 50 | 200 | 150 | No changes |  |  |  | 5
Grenoble, France; INSERM, U836, Grenoble, France; Universite ́ Joseph Fourier, Grenoble Institut des Neurosciences, Grenoble, France; Oncodesign Biotechnology, Dijon, France; Department of Medical Physics, Karolinska Hospital, Stockholm, Sweden; kUniversite ́ de Toulouse; UPS, Toulouse, France; Centre de Recherche Cerveau et Cognition, France; CNRS; CerCo, Toulouse, France; Faculty of Pharmacy, University of Jordan, Amman, Jordan; and Institute of Pathology, University of Bern, Switzerland | AUDREY BOUCHET, BENJAMIN LEMASSON, GERALDINE LE DUC, CECILE MAISIN, ELKE BRAUER-KRISCH, ERIK ALBERT SIEGBAHN, LUC RENAUD, ENAM KHALIL, CHANTAL RE ́ MY, CATHY POILLOT, ALBERTO BRAVIN, JEAN A. LAISSUE, EMMANUEL L. BARBIER, AND RAPHAEL SERDUC | Preferential Effect of Synchrotron Microbeam Radiation Therapy on Intracerebral 9L Gliosarcoma Vascular Networks | 2010 | International Journal of Radiation Oncology*Biology*Physics | 10.1016/j.ijrobp.2010.06.021 | 96.875 | 350 | 12.5 | 0.25 | 0.75 | 28 | 50 | 200 | 150 | No changes |  |  |  | 5
Grenoble, France; INSERM, U836, Grenoble, France; Universite ́ Joseph Fourier, Grenoble Institut des Neurosciences, Grenoble, France; Oncodesign Biotechnology, Dijon, France; Department of Medical Physics, Karolinska Hospital, Stockholm, Sweden; kUniversite ́ de Toulouse; UPS, Toulouse, France; Centre de Recherche Cerveau et Cognition, France; CNRS; CerCo, Toulouse, France; Faculty of Pharmacy, University of Jordan, Amman, Jordan; and Institute of Pathology, University of Bern, Switzerland | AUDREY BOUCHET, BENJAMIN LEMASSON, GERALDINE LE DUC, CECILE MAISIN, ELKE BRAUER-KRISCH, ERIK ALBERT SIEGBAHN, LUC RENAUD, ENAM KHALIL, CHANTAL RE ́ MY, CATHY POILLOT, ALBERTO BRAVIN, JEAN A. LAISSUE, EMMANUEL L. BARBIER, AND RAPHAEL SERDUC | Preferential Effect of Synchrotron Microbeam Radiation Therapy on Intracerebral 9L Gliosarcoma Vascular Networks | 2010 | International Journal of Radiation Oncology*Biology*Physics | 10.1016/j.ijrobp.2010.06.021 | 96.875 | 350 | 12.5 | 0.25 | 0.75 | 28 | 50 | 200 | 150 | No changes |  |  |  | 5
Université de Toulouse, UPS, Centre de Recherche Cerveau et Cognition, Toulouse, France, CNRS, CerCo, Toulouse, France, ESRF, Grenoble, France; Department of Medical Physics, Stockholm, Sweden; Inserm, U836, Grenoble, France, Université Joseph Fourier, Grenoble Institut des Neurosciences, UMR-S836, Grenoble, France; Department of Neurosurgery, CHU de Grenoble, Grenoble, France; Institute of Pathology, University of Bern, Bern, Switzerland | Raphaël Serduc, Elke Bräuer-Krisch, Erik A. Siegbahn, Audrey Bouchet, Benoit Pouyatos, Romain Carron, Nicolas Pannetier, Luc Renaud, Gilles Berruyer, Christian Nemoz, Thierry Brochard, Chantal Rémy, Emmanuel L. Barbier, Alberto Bravin, Géraldine Le Duc, Antoine Depaulis, François Estève, Jean A. Laissue | High-Precision Radiosurgical Dose Delivery by Interlaced Microbeam Arrays of High-Flux Low-Energy Synchrotron X-Rays | 2010 | PLOS ONE | 10.1371/journal.pone.0009028 | 191.25 | 700 | 12.5 | 0.26 | 0.74 | 56 | 52 | 200 | 148 | All rats irradiated in the right caudate nucleus survived the observation period of 1 month without any sign of neurological disorder; the evolution of their body weight was recorded as normal, slight hair loss was observed at the entrance site, no initial radiation-induced cerebral lesion but significant by 30 days |  |  |  | 5
INSERM, U836, F-38043 Grenoble, France; Universit ́e Joseph Fourier, Grenoble Institut de Neurosciences, F-38043 Grenoble, France; Institute of Pathology, University of Bern, Switzerland; European Synchrotron Radiation Facility, F-38043 Grenoble, France | Serduc R, van de Looij Y, Francony G, Verdonck O, van der Sanden B, Laissue J, Farion R, Bräuer-Krisch E, Siegbahn EA, Bravin A, Prezado Y, Segebarth C, Rémy C, Lahrech H. | Characterization and quantification of cerebral edema induced by synchrotron x-ray microbeam radiation therapy | 2008 | Physics in Medicine & Biology | 10.1088/0031-9155/53/5/001 |  | 312 |  | 0.11848 | 0.88152 |  | 25 | 211 | 186 | No observable cerebral oedema, no significant difference in water content, almost 0 within error bars to control |  |  |  | 5
Institut für Pathologie der Universität Bern, Bern, Switzerland; Brookhaven National Lab. (United States), Rhausler Inc. (United States), Univ. of Bern (Switzerland) | JA Laissue MD, H Blattmann PhD, H P Wagner MD, M A Grotzer MD, D N Slatkin MD; A. L. Hanson, D. N. Slatkin, J. A. Laissue | Prospects for microbeam radiation therapy of brain tumours in children to reduce neurological sequelae; Unidirectional x-ray microbeam radiosurgery of infantile neuraxial malignancies: estimations of tolerable valley doses | 2007; 2013 | Developmental Medicine & Child Neurology; Photonic Therapeutics and Diagnostics | 10.1111/j.1469-8749.2007.00577.x; 10.1117/12.2004194 | 46.9667 | 150 | 9.5 | 0.26667 | 0.73333 | 15.7895 | 28 | 105 | 77 | Significant cerebellar hypoplasia; microcalcifications in 90% of animals |  |  |  | 1
Institut für Pathologie der Universität Bern, Bern, Switzerland; Brookhaven National Lab. (United States), Rhausler Inc. (United States), Univ. of Bern (Switzerland) | JA Laissue MD, H Blattmann PhD, H P Wagner MD, M A Grotzer MD, D N Slatkin MD; A. L. Hanson, D. N. Slatkin, J. A. Laissue | Prospects for microbeam radiation therapy of brain tumours in children to reduce neurological sequelae; Unidirectional x-ray microbeam radiosurgery of infantile neuraxial malignancies: estimations of tolerable valley doses | 2007; 2013 | Developmental Medicine & Child Neurology; Photonic Therapeutics and Diagnostics | 10.1111/j.1469-8749.2007.00577.x; 10.1117/12.2004194 | 15.6067 | 50 | 3.1 | 0.26667 | 0.73333 | 16.129 | 28 | 105 | 77 | Moderate cerebellar hypoplasia; microcalcifications in 4% of animals |  |  |  | 3
Institut für Pathologie der Universität Bern, Bern, Switzerland; Brookhaven National Lab. (United States), Rhausler Inc. (United States), Univ. of Bern (Switzerland) | JA Laissue MD, H Blattmann PhD, H P Wagner MD, M A Grotzer MD, D N Slatkin MD; A. L. Hanson, D. N. Slatkin, J. A. Laissue | Prospects for microbeam radiation therapy of brain tumours in children to reduce neurological sequelae; Unidirectional x-ray microbeam radiosurgery of infantile neuraxial malignancies: estimations of tolerable valley doses | 2007; 2013 | Developmental Medicine & Child Neurology; Photonic Therapeutics and Diagnostics | 10.1111/j.1469-8749.2007.00577.x; 10.1117/12.2004194 | 22.34 | 150 | 2.7 | 0.13333 | 0.86667 | 55.5556 | 28 | 210 | 182 | Moderate cerebellar hypoplasia; microcalcifications in 10% of animals |  |  |  | 3
Institut für Pathologie der Universität Bern, Bern, Switzerland; Brookhaven National Lab. (United States), Rhausler Inc. (United States), Univ. of Bern (Switzerland) | JA Laissue MD, H Blattmann PhD, H P Wagner MD, M A Grotzer MD, D N Slatkin MD; A. L. Hanson, D. N. Slatkin, J. A. Laissue | Prospects for microbeam radiation therapy of brain tumours in children to reduce neurological sequelae; Unidirectional x-ray microbeam radiosurgery of infantile neuraxial malignancies: estimations of tolerable valley doses | 2007; 2013 | Developmental Medicine & Child Neurology; Photonic Therapeutics and Diagnostics | 10.1111/j.1469-8749.2007.00577.x; 10.1117/12.2004194 | 7.4467 | 50 | 0.9 | 0.13333 | 0.86667 | 55.5556 | 28 | 210 | 182 | Slight cerebellar hypoplasia; no microcalcifications observed |  |  |  | 4
[15 empty] | White matter necrosis | Microcalcification | Vasculatization | Local minor edema
Medical Department, Brookhaven National Laboratory, Upton, NY 11973, USA. | F Avraham Dilmanian, Terry M Button, Géraldine Le Duc, Nan Zhong, Louis A Peña, Jennifer A L Smith, Steve R Martinez, Tigran Bacarian, Jennifer Tammam, Baorui Ren, Peter M Farmer, John Kalef-Ezra, Peggy L Micca, Marta M Nawrocky, James A Niederer, F Peter Recksiek, Alexander Fuchs, Eliot M Rosen | Response of rat intracranial 9L gliosarcoma to microbeam radiation therapy | 2002 | Journal of Neuro-oncology | 10.1093/neuonc/4.1.26 | 135 | 300 | 40 | 0.54 | 0.46 | 7.5 | 27 | 50 | 23 | Small | Small | Strong with calcification | Small | 2
Medical Department, Brookhaven National Laboratory, Upton, NY 11973, USA. | F Avraham Dilmanian, Terry M Button, Géraldine Le Duc, Nan Zhong, Louis A Peña, Jennifer A L Smith, Steve R Martinez, Tigran Bacarian, Jennifer Tammam, Baorui Ren, Peter M Farmer, John Kalef-Ezra, Peggy L Micca, Marta M Nawrocky, James A Niederer, F Peter Recksiek, Alexander Fuchs, Eliot M Rosen | Response of rat intracranial 9L gliosarcoma to microbeam radiation therapy | 2002 | Journal of Neuro-oncology | 10.1093/neuonc/4.1.26 | 113 | 250 | 34 | 0.54 | 0.46 | 7.3529 | 27 | 50 | 23 | Small | Strong | Small | None | 1
Medical Department, Brookhaven National Laboratory, Upton, NY 11973, USA. | F Avraham Dilmanian, Terry M Button, Géraldine Le Duc, Nan Zhong, Louis A Peña, Jennifer A L Smith, Steve R Martinez, Tigran Bacarian, Jennifer Tammam, Baorui Ren, Peter M Farmer, John Kalef-Ezra, Peggy L Micca, Marta M Nawrocky, James A Niederer, F Peter Recksiek, Alexander Fuchs, Eliot M Rosen | Response of rat intracranial 9L gliosarcoma to microbeam radiation therapy | 2002 | Journal of Neuro-oncology | 10.1093/neuonc/4.1.26 | 113 | 250 | 34 | 0.54 | 0.46 | 7.3529 | 27 | 50 | 23 | None | Strong | None | None | 1.5
Medical Department, Brookhaven National Laboratory, Upton, NY 11973, USA. | F Avraham Dilmanian, Terry M Button, Géraldine Le Duc, Nan Zhong, Louis A Peña, Jennifer A L Smith, Steve R Martinez, Tigran Bacarian, Jennifer Tammam, Baorui Ren, Peter M Farmer, John Kalef-Ezra, Peggy L Micca, Marta M Nawrocky, James A Niederer, F Peter Recksiek, Alexander Fuchs, Eliot M Rosen | Response of rat intracranial 9L gliosarcoma to microbeam radiation therapy | 2002 | Journal of Neuro-oncology | 10.1093/neuonc/4.1.26 |  | 500 |  | 0.54 | 0.46 |  | 27 | 50 | 23 | None | Small | Small | Small | 2
Medical Department, Brookhaven National Laboratory, Upton, NY 11973, USA. | F Avraham Dilmanian, Terry M Button, Géraldine Le Duc, Nan Zhong, Louis A Peña, Jennifer A L Smith, Steve R Martinez, Tigran Bacarian, Jennifer Tammam, Baorui Ren, Peter M Farmer, John Kalef-Ezra, Peggy L Micca, Marta M Nawrocky, James A Niederer, F Peter Recksiek, Alexander Fuchs, Eliot M Rosen | Response of rat intracranial 9L gliosarcoma to microbeam radiation therapy | 2002 | Journal of Neuro-oncology | 10.1093/neuonc/4.1.26 |  | 500 |  | 0.54 | 0.46 |  | 27 | 50 | 23 | None | Strong | Medium | Medium | 1
Medical Department, Brookhaven National Laboratory, Upton, NY 11973, USA. | F Avraham Dilmanian, Terry M Button, Géraldine Le Duc, Nan Zhong, Louis A Peña, Jennifer A L Smith, Steve R Martinez, Tigran Bacarian, Jennifer Tammam, Baorui Ren, Peter M Farmer, John Kalef-Ezra, Peggy L Micca, Marta M Nawrocky, James A Niederer, F Peter Recksiek, Alexander Fuchs, Eliot M Rosen | Response of rat intracranial 9L gliosarcoma to microbeam radiation therapy | 2002 | Journal of Neuro-oncology | 10.1093/neuonc/4.1.26 | 158 | 500 | 33 | 0.36 | 0.64 | 15.1515 | 27 | 75 | 48 | Medium | Medium | Medium | Small | 1
Medical Department, Brookhaven National Laboratory, Upton, NY 11973, USA. | F Avraham Dilmanian, Terry M Button, Géraldine Le Duc, Nan Zhong, Louis A Peña, Jennifer A L Smith, Steve R Martinez, Tigran Bacarian, Jennifer Tammam, Baorui Ren, Peter M Farmer, John Kalef-Ezra, Peggy L Micca, Marta M Nawrocky, James A Niederer, F Peter Recksiek, Alexander Fuchs, Eliot M Rosen | Response of rat intracranial 9L gliosarcoma to microbeam radiation therapy | 2002 | Journal of Neuro-oncology | 10.1093/neuonc/4.1.26 | 79 | 250 | 17 | 0.36 | 0.64 | 14.7059 | 27 | 75 | 48 | None | Strong | None | Small | 1.5
Medical Department, Brookhaven National Laboratory, Upton, NY 11973, USA. | F Avraham Dilmanian, Terry M Button, Géraldine Le Duc, Nan Zhong, Louis A Peña, Jennifer A L Smith, Steve R Martinez, Tigran Bacarian, Jennifer Tammam, Baorui Ren, Peter M Farmer, John Kalef-Ezra, Peggy L Micca, Marta M Nawrocky, James A Niederer, F Peter Recksiek, Alexander Fuchs, Eliot M Rosen | Response of rat intracranial 9L gliosarcoma to microbeam radiation therapy | 2002 | Journal of Neuro-oncology | 10.1093/neuonc/4.1.26 | 118 | 500 | 19 | 0.27 | 0.73 | 26.3158 | 27 | 100 | 73 | None | Strong | None | None | 1.5
Institute of Pathology, University of Bern, Switzerland. | J A Laissue, G Geiser, P O Spanne, F A Dilmanian, J O Gebbers, M Geiser, X Y Wu, M S Makar, P L Micca, M M Nawrocky, D D Joel, D N Slatkin | Neuropathology of ablation of rat gliosarcomas and contiguous brain tissues using a microplanar beam of synchrotron-wiggler-generated X rays. | 1998 | International Journal of Cancer | 10.1002/(sici)1097-0215(19981123)78:5<654::aid-ijc21>3.0.co;2-l |  | 625 |  | 0.25 | 0.75 |  | 25 | 100 | 75 | Brain damage index over double control for 3 brain areas, the same as control in 5, loss of tissue structure |  |  |  | 2
Medical Department, Brookhaven National Laboratory, Upton, NY 11973-5000, USA. | D N Slatkin, P Spanne, F A Dilmanian, J O Gebbers, J A Laissue | Subacute neuropathological effects of microplanar beams of x-rays from a synchrotron wiggler | 1995 | Proceedings of the National Academy of Sciences | 10.1073/pnas.92.19.8783 |  | 625 |  | 0.1 | 0.9 |  | 20 | 200 | 180 | No change |  |  |  | 5
Medical Department, Brookhaven National Laboratory, Upton, NY 11973-5000, USA. | D N Slatkin, P Spanne, F A Dilmanian, J O Gebbers, J A Laissue | Subacute neuropathological effects of microplanar beams of x-rays from a synchrotron wiggler | 1995 | Proceedings of the National Academy of Sciences | 10.1073/pnas.92.19.8783 |  | 625 |  | 0.1 | 0.9 |  | 20 | 200 | 180 | No change |  |  |  | 5
Medical Department, Brookhaven National Laboratory, Upton, NY 11973-5000, USA. | D N Slatkin, P Spanne, F A Dilmanian, J O Gebbers, J A Laissue | Subacute neuropathological effects of microplanar beams of x-rays from a synchrotron wiggler | 1995 | Proceedings of the National Academy of Sciences | 10.1073/pnas.92.19.8783 |  | 312 |  | 0.1 | 0.9 |  | 20 | 200 | 180 | No change |  |  |  | 5
Medical Department, Brookhaven National Laboratory, Upton, NY 11973-5000, USA. | D N Slatkin, P Spanne, F A Dilmanian, J O Gebbers, J A Laissue | Subacute neuropathological effects of microplanar beams of x-rays from a synchrotron wiggler | 1995 | Proceedings of the National Academy of Sciences | 10.1073/pnas.92.19.8783 |  | 312 |  | 0.185 | 0.815 |  | 37 | 200 | 163 | No change |  |  |  | 5
Medical Department, Brookhaven National Laboratory, Upton, NY 11973-5000, USA. | D N Slatkin, P Spanne, F A Dilmanian, J O Gebbers, J A Laissue | Subacute neuropathological effects of microplanar beams of x-rays from a synchrotron wiggler | 1995 | Proceedings of the National Academy of Sciences | 10.1073/pnas.92.19.8783 |  | 312 |  | 0.49333 | 0.50667 |  | 37 | 75 | 38 | No change |  |  |  | 5
Medical Department, Brookhaven National Laboratory, Upton, NY 11973-5000, USA. | D N Slatkin, P Spanne, F A Dilmanian, J O Gebbers, J A Laissue | Subacute neuropathological effects of microplanar beams of x-rays from a synchrotron wiggler | 1995 | Proceedings of the National Academy of Sciences | 10.1073/pnas.92.19.8783 |  | 625 |  | 0.185 | 0.815 |  | 37 | 200 | 163 | No change |  |  |  | 5
Medical Department, Brookhaven National Laboratory, Upton, NY 11973-5000, USA. | D N Slatkin, P Spanne, F A Dilmanian, J O Gebbers, J A Laissue | Subacute neuropathological effects of microplanar beams of x-rays from a synchrotron wiggler | 1995 | Proceedings of the National Academy of Sciences | 10.1073/pnas.92.19.8783 |  | 625 |  | 0.49333 | 0.50667 |  | 37 | 75 | 38 | No change |  |  |  | 5
Institute of Pathology, University of Bern, Switzerland; Deutsches Krebsforschungszentrum, Heidelberg, Germany; European Synchrotron Radiation Facility, Grenoble, France; Institute of Anatomy, University of Bern, Bern, Switzerland; Brookhaven National Laboratory, NY, USA; Particle Therapy Cancer Research Institute, University of Oxford, UK; Animal Oncology and Imaging Center, Hünenberg, Switzerland; Department of Physics, University of Helsinki, Central Hospital, Finland; Department of Biological Sciences, University of Essex, Colchester, UK; INSERM, U836, Grenoble, France; Université Joseph Fourier, Grenoble Institut des Neurosciences, Grenoble, France; Department of Medical Physics, Karolinska University Hospital, Stockholm, Sweden; Nanoprobes, Inc., Yaphank NY, USA | Jean A. Laissue, Stefan Bartzsch, Hans Blattmann, Elke Bräuer-Krisch, Alberto Bravin, Dominique Dalléry, Valentin Djonov, Albert L. Hanson, John W. Hopewell, Barbara Kaser-Hotz, Jani Keyriläinen, Pierre Philippe Laissue, Michiko Miura, Raphaël Serduc, Albert E. Siegbahn, Daniel N. Slatkin | Response of the rat spinal cord to X-ray microbeams | 2013 | Radiotherapy and Oncology | 10.1016/j.radonc.2012.12.007. | 49.6667 | 253 | 9 | 0.16667 | 0.83333 | 28.1111 | 35 | 210 | 175 | Paralysis free at 383 days post irradiation, lesions |  |  |  | 5
Institute of Pathology, University of Bern, Switzerland; Deutsches Krebsforschungszentrum, Heidelberg, Germany; European Synchrotron Radiation Facility, Grenoble, France; Institute of Anatomy, University of Bern, Bern, Switzerland; Brookhaven National Laboratory, NY, USA; Particle Therapy Cancer Research Institute, University of Oxford, UK; Animal Oncology and Imaging Center, Hünenberg, Switzerland; Department of Physics, University of Helsinki, Central Hospital, Finland; Department of Biological Sciences, University of Essex, Colchester, UK; INSERM, U836, Grenoble, France; Université Joseph Fourier, Grenoble Institut des Neurosciences, Grenoble, France; Department of Medical Physics, Karolinska University Hospital, Stockholm, Sweden; Nanoprobes, Inc., Yaphank NY, USA | Jean A. Laissue, Stefan Bartzsch, Hans Blattmann, Elke Bräuer-Krisch, Alberto Bravin, Dominique Dalléry, Valentin Djonov, Albert L. Hanson, John W. Hopewell, Barbara Kaser-Hotz, Jani Keyriläinen, Pierre Philippe Laissue, Michiko Miura, Raphaël Serduc, Albert E. Siegbahn, Daniel N. Slatkin | Response of the rat spinal cord to X-ray microbeams | 2013 | Radiotherapy and Oncology | 10.1016/j.radonc.2012.12.007. | 70.0833 | 357 | 12.7 | 0.16667 | 0.83333 | 28.1102 | 35 | 210 | 175 | Spinal cord tissue appears histologically normal, lesions in 3/10 rats, small portion of rats experienced weightloss |  |  |  | 3
Institute of Pathology, University of Bern, Switzerland; Deutsches Krebsforschungszentrum, Heidelberg, Germany; European Synchrotron Radiation Facility, Grenoble, France; Institute of Anatomy, University of Bern, Bern, Switzerland; Brookhaven National Laboratory, NY, USA; Particle Therapy Cancer Research Institute, University of Oxford, UK; Animal Oncology and Imaging Center, Hünenberg, Switzerland; Department of Physics, University of Helsinki, Central Hospital, Finland; Department of Biological Sciences, University of Essex, Colchester, UK; INSERM, U836, Grenoble, France; Université Joseph Fourier, Grenoble Institut des Neurosciences, Grenoble, France; Department of Medical Physics, Karolinska University Hospital, Stockholm, Sweden; Nanoprobes, Inc., Yaphank NY, USA | Jean A. Laissue, Stefan Bartzsch, Hans Blattmann, Elke Bräuer-Krisch, Alberto Bravin, Dominique Dalléry, Valentin Djonov, Albert L. Hanson, John W. Hopewell, Barbara Kaser-Hotz, Jani Keyriläinen, Pierre Philippe Laissue, Michiko Miura, Raphaël Serduc, Albert E. Siegbahn, Daniel N. Slatkin | Response of the rat spinal cord to X-ray microbeams | 2013 | Radiotherapy and Oncology | 10.1016/j.radonc.2012.12.007. | 73.2167 | 373.3 | 13.2 | 0.16667 | 0.83333 | 28.2803 | 35 | 210 | 175 | Dose calculated to cause paralysis in 50% of rats, weight loss in all rats |  |  |  | 1
Institute of Pathology, University of Bern, Switzerland; Deutsches Krebsforschungszentrum, Heidelberg, Germany; European Synchrotron Radiation Facility, Grenoble, France; Institute of Anatomy, University of Bern, Bern, Switzerland; Brookhaven National Laboratory, NY, USA; Particle Therapy Cancer Research Institute, University of Oxford, UK; Animal Oncology and Imaging Center, Hünenberg, Switzerland; Department of Physics, University of Helsinki, Central Hospital, Finland; Department of Biological Sciences, University of Essex, Colchester, UK; INSERM, U836, Grenoble, France; Université Joseph Fourier, Grenoble Institut des Neurosciences, Grenoble, France; Department of Medical Physics, Karolinska University Hospital, Stockholm, Sweden; Nanoprobes, Inc., Yaphank NY, USA | Jean A. Laissue, Stefan Bartzsch, Hans Blattmann, Elke Bräuer-Krisch, Alberto Bravin, Dominique Dalléry, Valentin Djonov, Albert L. Hanson, John W. Hopewell, Barbara Kaser-Hotz, Jani Keyriläinen, Pierre Philippe Laissue, Michiko Miura, Raphaël Serduc, Albert E. Siegbahn, Daniel N. Slatkin | Response of the rat spinal cord to X-ray microbeams | 2013 | Radiotherapy and Oncology | 10.1016/j.radonc.2012.12.007. | 99.5 | 507 | 18 | 0.16667 | 0.83333 | 28.1667 | 35 | 210 | 175 | Lesions, focal white matter necrosis, florid focal gray matter necrosis, fibrinoid necrosis of microvessels, leukocytic infiltrates, and space-occupying lesions in some cases, weightloss |  |  |  | 1
[15 empty] | Moist desquamation | Complete epilation | Failures to nearly fully regrow hair within 7 months
Medical Department, Brookhaven National Laboratory, Upton, New York 11973; Research Institute, Churchill Hospital, Oxford, OX3 7LJ, United Kingdom; Biology Department, Brookhaven National Laboratory, Upton, New York 11973; Department of Medical Physics, University of Ioannina, Ioannina 45110, Greece; Pharmacyclics, Inc., Sunnyvale, California 94086; Department of Radiation Oncology, Long Island Jewish Medical Center, New Hyde Park, New York 11040 | F. Avraham Dilmanian, Gerard M. Morris, Nan Zhong, Tigran Bacarian, James F. Hainfeld, John Kalef-Ezra, Laura J. Brewington, Jennifer Tammam, Eliot M. Rosen | Murine EMT-6 carcinoma: High therapeutic efficacy of microbeam radiation therapy. | 2003 | Radiation Research | 10.1667/0033-7587(2003)159[0632:mechte]2.0.co;2 | 254 | 410 | 16 | 0.3 | 0.7 | 25.625 | 90 | 300 | 210 | 0/8 | 45139 | 44986 |  | 3
Medical Department, Brookhaven National Laboratory, Upton, New York 11973; Research Institute, Churchill Hospital, Oxford, OX3 7LJ, United Kingdom; Biology Department, Brookhaven National Laboratory, Upton, New York 11973; Department of Medical Physics, University of Ioannina, Ioannina 45110, Greece; Pharmacyclics, Inc., Sunnyvale, California 94086; Department of Radiation Oncology, Long Island Jewish Medical Center, New Hyde Park, New York 11040 | F. Avraham Dilmanian, Gerard M. Morris, Nan Zhong, Tigran Bacarian, James F. Hainfeld, John Kalef-Ezra, Laura J. Brewington, Jennifer Tammam, Eliot M. Rosen | Murine EMT-6 carcinoma: High therapeutic efficacy of microbeam radiation therapy. | 2003 | Radiation Research | 10.1667/0033-7587(2003)159[0632:mechte]2.0.co;2 | 322 | 520 | 21 | 0.3 | 0.7 | 24.7619 | 90 | 300 | 210 | 0/8 | 45140 | 45017 |  | 2
Medical Department, Brookhaven National Laboratory, Upton, New York 11973; Research Institute, Churchill Hospital, Oxford, OX3 7LJ, United Kingdom; Biology Department, Brookhaven National Laboratory, Upton, New York 11973; Department of Medical Physics, University of Ioannina, Ioannina 45110, Greece; Pharmacyclics, Inc., Sunnyvale, California 94086; Department of Radiation Oncology, Long Island Jewish Medical Center, New Hyde Park, New York 11040 | F. Avraham Dilmanian, Gerard M. Morris, Nan Zhong, Tigran Bacarian, James F. Hainfeld, John Kalef-Ezra, Laura J. Brewington, Jennifer Tammam, Eliot M. Rosen | Murine EMT-6 carcinoma: High therapeutic efficacy of microbeam radiation therapy. | 2003 | Radiation Research | 10.1667/0033-7587(2003)159[0632:mechte]2.0.co;2 | 403 | 650 | 26 | 0.3 | 0.7 | 25 | 90 | 300 | 210 | 0/7 | 45109 | 45080 |  | 2
Department of Pathology, Southern Health, Monash Medical Centre, Clayton, Victoria, Australia. | R C U Priyadarshika, J C Crosbie, B Kumar and P A W Rogers | Biodosimetric quantification of short-term synchrotron microbeam versus broad-beam radiation damage to mouse skin using a dermatopathological scoring system | 2014 | The British Journal of Radiology | 10.1259/bjr/58503354 | 55.25 | 400 | 6 | 0.125 | 0.875 | 66.6667 | 25 | 200 | 175 | Not significantly different to low dose BB but greater than control for epidermal cell death, spongiosis, nuclear enlargement and dermal leukocytic infiltration |  |  |  | 3
Department of Pathology, Southern Health, Monash Medical Centre, Clayton, Victoria, Australia. | R C U Priyadarshika, J C Crosbie, B Kumar and P A W Rogers | Biodosimetric quantification of short-term synchrotron microbeam versus broad-beam radiation damage to mouse skin using a dermatopathological scoring system | 2014 | The British Journal of Radiology | 10.1259/bjr/58503354 | 27.625 | 200 | 3 | 0.125 | 0.875 | 66.6667 | 25 | 200 | 175 | Not significantly different to low dose BB but greater than control for epidermal cell death, adnexal damage, spongiosis, nuclear enlargement and dermal leukocytic infiltration |  |  |  | 3
INSERM U836, Institute of Neuroscience Grenoble, France; European Synchrotron Radiation Facility, Grenoble, France; Department of Oncology and Pathology, Karolinska Institutet, Stockholm, Sweden; CNRS UMR 5588, Physical Spectroscopy, Grenoble, France; Institute of Pathology, University of Bern, Switzerland | Boudewijn van der Sanden, Elke Bräuer-Krisch, Erik Albert Siegbahn, Clément Ricard, Jean-Claude Vial, Jean Laissue | Healthy mice- Left hind leg, including saphenous artery | 2010 | International Journal of Radiation Oncology*Biology*Physics | 10.1016/j.ijrobp.2010.02.019 | 41.3625 | 312 | 2.7 | 0.125 | 0.875 | 115.5556 | 50 | 400 | 350 | Stable thinning of tunica media in peak regions, hypertrophy of tunica media in valley regions; no vascular occlusions, no skin reactions, behavioral changes, or weight loss |  |  |  | 4
Key: | Black text | From paper
| Red text | Calculated