A Rapid and Naked-eye Methicillin Resistant Staphylococcus Aureus Screening Method Based on CRISPR/Cas12a and Hybridization Chain Reaction

Yayun Jiang1*, Zongyao Chen3, Xiao Liu3, Qi xin3, Dengchao Wang3, Caixia Ji3, Youwei Li2*, Gang Mai2*

1 Digestive Diseases Center, Deyang People's Hospital Affiliated to Chengdu University of Traditional Chinese Medicine, Deyang, Sichuan, China.

2 Department of General Surgery (Hepatopancreatobiliary Surgery), Deyang People's Hospital Affiliated to Chengdu University of Traditional Chinese Medicine, Deyang, Sichuan, China.

3 Department of Clinical Laboratory, Deyang People's Hospital Affiliated to Chengdu University of Traditional Chinese Medicine, Deyang, Sichuan, China.

*Corresponding authors: dyjiangyayun@163.com (Yayun Jiang) and maigang68@hotmail.com (Gang Mai).

Fig. S1 Calculation of colony concentration by plate count method.

The optical density of bacterial suspension is adjusted to absorbance at 600 nm is 1.0. The bacterial suspension is continuously diluted, and 10 μL of bacterial solution diluted 10⁴ to 10⁶ times was pipetted and evenly spread onto agar plates.

Table S1. The sequences of oligonucleotides are used in this work.

| Names | Sequences (5’-3’) |
| --- | --- |
| H0 | ACCTTAATCTGACAACAACTACCAGCTTATCCCA |
| H1 | CTGACAACAACTACCAGCTTATCCCACCTTAATGGGATAAGCTGGTAGTTGTTGTCAGATTAAGGT |
| H2 | TTAAGGTGGGATAAGCTGGTAGTTGTTGTCAGACCTTAATCTGACAACAACTACCAGCTTATCCCA |
| Biotin-H0 | TTTTTTTTTTTTACCTTAATCTGACAACAACTACCAGCTTATCCCA |
| H1-FQ | CTGACAACAAC/i6FAMdT/ACCAGCTTATCCCACCTTAATGGGATAAGCTGG/iBHQ1dT/AGTTGTTGTCAGATTAAGGT |

Table S2. The sequences of crRNA and primer are used in this work.

| Names | Sequences (5’-3’) |
| --- | --- |
| crRNA1 | UAAUUUCUACUAAGUGUAGAUUGAAGACUAUAUCAAACAAC |
| crRNA2 | UAAUUUCUACUAAGUGUAGAUAGUGGAACGAAGGUAUCAUC |
| crRNA3 | UAAUUUCUACUAAGUGUAGAUCUAGAGGAUAGUUACGACUU |
| RPA-F(mecA) | GCAATCGCTAAAGAACTA |
| RPA-R(mecA) | TGGGACCAACATAACCTA |

Table S3 The information for clinically isolated strains of S. aureus and screening for methicillin resistance by Vitek 2 system using oxacillin MIC method.

| Sample number | Specimen type | MIC of oxacillin a | Cefoxitin screening test | Susceptibility testing |
| --- | --- | --- | --- | --- |
| S1 | Pus | <=0.25 | Neg | MSSA |
| S2 | Sputum | 0.5 | Neg | MSSA |
| S3 | Secretion | 0.5 | Neg | MSSA |
| S4 | Pus | 0.5 | Neg | MSSA |
| S5 | Secretion | <=0.25 | Neg | MSSA |
| S6 | Pus | 0.5 | Neg | MSSA |
| S7 | Pus | 0.5 | Neg | MSSA |
| S8 | Abdominal fluid | 0.5 | Neg | MSSA |
| S9 | Sputum | 0.5 | Neg | MSSA |
| S10 | Sputum | <=0.25 | Neg | MSSA |
| S11 | Sputum | 0.5 | Neg | MSSA |
| S12 | Sputum | 0.5 | Neg | MSSA |
| S13 | Sputum | <=0.25 | Neg | MSSA |
| S14 | Sputum | 0.5 | Neg | MSSA |
| S15 | Pus | 0.5 | Neg | MSSA |
| S16 | Sputum | <=0.25 | Neg | MSSA |
| S17 | Sputum | <=0.25 | Neg | MSSA |
| S18 | Pus | <=0.25 | Neg | MSSA |
| S19 | Sputum | 0.5 | Neg | MSSA |
| S20 | Sputum | 0.5 | Neg | MSSA |
| S21 | Secretion | 0.5 | Neg | MSSA |
| S22 | Urine | 0.5 | Neg | MSSA |
| S23 | Sputum | 0.5 | Neg | MSSA |
| S24 | Secretion | 0.5 | Neg | MSSA |
| S25 | Sputum | <=0.25 | Neg | MSSA |
| S26 | Sputum | <=0.25 | Neg | MSSA |
| S27 | Sputum | <=0.25 | Neg | MSSA |
| S28 | Sputum | 0.5 | Neg | MSSA |
| S29 | Sputum | <=0.25 | Neg | MSSA |
| S30 | Secretion | <=0.25 | Neg | MSSA |
| S31 | Sputum | >=4 | Pos | MRSA |
| S32 | Sputum | >=4 | Pos | MRSA |
| S33 | Pus | >=4 | Pos | MRSA |
| S34 | Secretion | >=4 | Pos | MRSA |
| S35 | Blood | >=4 | Pos | MRSA |
| S36 | Sputum | >=4 | Pos | MRSA |
| S37 | Sputum | >=4 | Pos | MRSA |
| S38 | Secretion | >=4 | Pos | MRSA |
| S39 | Sputum | >=4 | Pos | MRSA |
| S40 | Secretion | >=4 | Pos | MRSA |
| S41 | Secretion | >=4 | Pos | MRSA |
| S42 | Secretion | 1 | Pos | MRSA |
| S43 | Sputum | >=4 | Pos | MRSA |
| S44 | Broncho-alveolar lavage | >=4 | Pos | MRSA |
| S45 | Sputum | >=4 | Pos | MRSA |
| S46 | Secretion | >=4 | Pos | MRSA |
| S47 | Broncho-alveolar lavage | >=4 | Pos | MRSA |
| S48 | Sputum | >=4 | Pos | MRSA |
| S49 | Secretion | >=4 | Pos | MRSA |
| S50 | Sputum | >=4 | Pos | MRSA |
| S51 | Broncho-alveolar lavage | >=4 | Pos | MRSA |
| S52 | Urine | >=4 | Pos | MRSA |
| S53 | Sputum | >=4 | Pos | MRSA |
| S54 | Abdominal fluid | >=4 | Pos | MRSA |
| S55 | Secretion | >=4 | Pos | MRSA |
| S56 | Secretion | >=4 | Pos | MRSA |
| S57 | Secretion | >=4 | Pos | MRSA |
| S58 | Secretion | >=4 | Pos | MRSA |
| S59 | Secretion | >=4 | Pos | MRSA |
| S60 | Secretion | >=4 | Pos | MRSA |

a, The determination of methicillin resistance of S. aureus is completed by the Vitek 2 system using the oxacillin MIC method (oxacillin concentrations range from 0.25 to 4 μg/mL). According to the CLSI drug susceptibility standard [1], S. aureus with a MIC of oxacillin ≥4 μg/mL is MRSA, while a MIC of oxacillin ≤2 μg/mL is MSSA.

[1] CLSI. CLSI M100-ED29: 2021 Performance Standards for Antimicrobial Susceptibility Testing, 30th Edition. Clsi vol. 40 (2020).

Fig. S2 Optimization of the reaction parameters. (a) The S/N ratio of fluorescence signals at different PH of HCR. (b) The S/N ratio of fluorescence signals at different temperatures of HCR.

Fig. S3 Calculate the cut-off value for fluorescent outputs of the MCFHCR. X + 3SD calculates the cut-off value, X represents an average signal value of three replicates without using the target gene, and SD represents three standard deviations.

Fig. S4 Sensitivity analysis of the MCFHCR method by different concentrations of mecA, ranging from 0 to 5×106 copies/μL. Error bars represent mean ± SD, where n = 3 replicates.

Fig. S5 qPCR for the detection of clinical samples.

Fig. S6 The instruments required for the MCFHCR method.