## Sheet1
MTA | QCB
Activation, positioning or separation problem | Activation, positioning or separation problem
Activation Failure | Activation Failure
Activation, Positioning or Separation Problem | Device Dislodged or Dislocated
Device Dislodged or Dislocated | Ejection Problem
Device Slipped | Entrapment of Device
Difficult or Delayed Positioning | Malposition of Device
Difficult to Advance | Positioning Failure
Difficult to Insert | Positioning Problem
Difficult To Position
Difficult to Remove
Ejection Problem
Entrapment of Device
Malposition of Device
Positioning Failure
Positioning Problem
Patient-Device interaction issues | Patient-Device interaction issues
Patient Device Interaction Problem | Patient Device Interaction Problem
Patient-Device Incompatibility | Patient-Device Incompatibility
No AEs | No AEs
No Apparent Adverse Event | No Apparent Adverse Event
No code available | No code available
Adverse Event Without Identified Device or Use Problem | Adverse Event Without Identified Device or Use Problem
Appropriate Term/Code Not Available | Appropriate Term/Code Not Available
Off-label use | Off-label use
Off-Label Use | Off-Label Use
Operation and control Issues | Operation and control Issues
Device Handling Problem | Device Handling Problem
Device Operates Differently Than Expected | Device Operates Differently Than Expected
Improper or Incorrect Procedure or Method | Improper or Incorrect Procedure or Method
Unintended Ejection | Migration or Expulsion of Device
Unintended Movement | Unintended Movement
Optical issues | Optical issues
Misfocusing | Misfocusing
Optical Distortion | Optical Decentration
Optical Problem | Optical Problem
Shape and/or size issues | Shape and/or size issues
Inadequacy of Device Shape and/or Size | Inadequacy of Device Shape and/or Size
Other | Other
Bent | Break
Break | Contamination
Contamination | Contamination /Decontamination Problem
Contamination / Decontamination Problem | Crack
Crack | Cut In Material
Defective Device | Defective Device
Delivered as Unsterile Product | Device Contamination with Chemical or Other Material
Dent in Material | Device Damaged by Another Device
Device Contaminated During Manufacture or Shipping | Device Markings/Labelling Problem
Device Contamination with Chemical or Other Material | Difficult to Fold, Unfold or Collapse
Device Damaged by Another Device | Failure to Unfold or Unwrap
Device Issue | Fracture
Device Markings/Labelling Problem | Insufficient Information
Device remains implanted | Manufacturing, Packaging or Shipping Problem
Difficult to Fold, Unfold or Collapse | Material Deformation
Difficult to Open or Close | Material Discolored
Failure to Read Input Signal | Material Integrity Problem
Failure to Select Signal | Material Opacification
Failure to Unfold or Unwrap | Material Split, Cut or Torn
Fitting Problem | Mechanical Jam
Folded | Missing Value Reason
Fracture | Packaging Problem
Human-Device Interface Problem | Particulates
Inaccurate Information | Physical Resistance/Sticking
Insufficient Information | Product Quality Problem
Manufacturing, Packaging or Shipping Problem | Shelf Life Exceeded
Material Deformation | Torn Material
Material Discolored | Use of Device Problem
Material Opacification
Material Twisted/Bent
Mechanical Jam
Mechanical Problem
Missing Value Reason
Optical Discoloration
Output Problem
Packaging Problem
Particulates
Product Quality Problem
Scratched Material
Shelf Life Exceeded
Split
Sticking
Torn Material
Vitritis