Supplementary Table 3: Assay methods for measuring serum MTX levels

| Assay Type | Description / Features | Advantages | Limitations | References |
| --- | --- | --- | --- | --- |
| Immunoassay | Measures serum MTX concentrations using antibody-based detection. | High automation; rapid results; widely used in clinical laboratories | Can cross-react with MTX metabolites (DAMPA, glutamate); expensive; requires refrigeration | (3,51) |
| Chromatography (HPLC/LC-MS) | Separates MTX from metabolites using high-performance or liquid chromatography techniques. | Gold standard; high specificity and accuracy; minimal interference from metabolites | Requires specialized equipment and trained personnel; longer turnaround time; high initial cost | (51) |
| Practical Notes | Immunoassays are commonly used in routine laboratories; chromatographic methods are reserved for precise measurement or research applications. |  |  |  |

MTX – methotrexate; DAMPA – 2,4-diamino-N10-methylpteroic acid; HPLC – High-performance liquid chromatography; LC-MS – Liquid chromatography mass spectrometry.