Supplementary Material

Integrative Analysis by Targeted Metabolomics Revealed the Regulatory Function of Donkey Oil on Skin Metabolites

Supplementary methods

1. Sample Preparation and Extraction for Detecting Organic Acids and Amino Acids

After the samples were thawed, the samples were cut into small pieces and mixed with 3000 μL of 70% methanol/water respectively. The samples were vortexed for 5 min under the condition of 2500 r/min and placed on ice for 15 min centrifuged at 12000 r/min for 3 min at 4℃. Took 1mL of supernatant into the corresponding 1.5 mL centrifuge tube and concentrated it until it was completely dry. Finally, reconstituted with 200 μL of 70% methanol/water, vortexed for 5 min and placed the supernatant in -20℃ refrigerator for 30 min. Then the supernatant was centrifuged again at 12000 r/min for 20 min at 4℃. After centrifugation, transferred 80 μL of supernatant for further LC-MS/MS analysis.

1.1 LC Conditions for Detecting Organic Acids and Amino Acids

Targeting for organic acids, 0.05% formic acid in water and 0.05% formic acid in acetonitrile were used as mobile phases A and B, respectively. The elution was carried out as follows: 5% B (0 min), increased to 95% B (8-9.5 min), finally ramped back to 5% B (9.6-12 min). The flow rate was set at 0.35 mL/min, the column temperature at 40 ℃ and the injection volume at 2 μL.

Targeting for amino acids, 0.04% formic acid in water with 2 mM ammonium acetate and 0.04% formic acid in acetonitrile with 2 mM ammonium acetate were used as mobile phases A and B, respectively. The elution was carried out as follows: 90% B (0-1.2 min), decreased to 60% B (9 min), 40% B (10-11 min), finally ramped back to 90% B (11.01-15 min); The flow rate was set at 0.35 mL/min, the column temperature at 40 ℃ and the injection volume at 2 μL.

1.2 UPLC Conditions for Detecting Organic Acids and Amino Acids

The samples were analyzed by ultra-performance liquid chromatography (UPLC) (Exi on LC™ AD, Foster City, CA, USA, https://sciex.com.cn/) and tandem mass spectrometry (MS/MS) (Applied Biosystems 6500 QTRAP, Foster City, CA, USA, https://sciex.com.cn/) using ACQUITY HSS T3 column (Waters, 2.1×100 mm, 1.8 μm). The LC analytical conditions targeting for organic acids and amino acids were detailed in supplementary methods respectively.

1.3 ESI-MS/MS Conditions for Detecting Organic Acids and Amino Acids

The effluent was alternatively connected to an ESI-triple quadrupole-linear ion trap (Q TRAP)-MS. LIT and triple quadrupole (QQQ) scans were acquired on a triple

quadrupole-linear ion trap mass spectrometer (Q TRAP), API 6500 QTRAP LC/MS/MS System, equipped with an ESI Turbo Ion-Spray interface, operating in a positive ion mode and controlled by Analyst 1.6.3 software (AB Sciex). The mass spectrometry data were collected in positive/negative electrospray ionization (ESI) mode with the ESI source at 550℃ and using an ionization voltage of 5500 V (positive ionization mode)/-4500 V (negative ionization mode) and controlled by Analyst 1.6 software (AB Sciex); curtain gas (CUG) was set at 35 psi; the declustering potential (DP) and collision energy (CE) for individual Multi Reaction Monitoring (MRM) transitions were optimized. A specific set of MRM transitions were monitored for each period according to the organic acid/ amino acid eluted within this period.

2.Skin Samples Pretreatment and Targeted Metabolomics Analysis of Free Fatty Acids Based on GC-MS/MS

After the samples were thawed, an amount of 0.05 g of each sample was weighed into the tube with 150 μL MeOH, 200 μL MTBE, 50 μL 36% phosphoric acid/water (v/v, precooled at -20℃) added. The samples were vortexed for 3 min followed ultrasonated for 10 min and centrifuged for 5 min at 4℃ and 12000 r/min. 200 μL of supernatant was concentrated on a nitrogen blower until dry. 300 μL of 15% boron trifluoride methanol solution was injected into the dried samples followed vortexing for 3 minutes and keeping in an incubator for 30 min at 60℃ to harvest the derivatization. Accurately adding 500 μL of n-hexane solution and 200 μL of saturated sodium chloride solution into the derivative solution after cooling to room temperature. The mixed liquid was vortexed for 3 min and centrifuged for 5 min at 4℃ and 12000 r/min. The upper n-hexane layer solution was transferred into GC injection vial for analysis.

2.1 GC Conditions for Detecting Free Fatty Acids

The GC analytical conditions were as follows using a gas chromatography (Agilent 8890, https://Agilent.com.cn/) couple to triple quadrupole mass spectrometry (Agilent 7000E, https://Agilent.com.cn/). The separation was conducted on a DB-5MS capillary column (30 m×0.25 mm×0.25 μm, Agilent) with high purity helium (purity >99.999%) as carrier gas. The heating procedure was started at 50℃ and held for 1.5 min, increased to 170℃ at a rate of 30℃/min, increased to 200℃ at a rate of 15℃/min, increased to 220℃ at a rate of 5℃/min and held for 2 min, increased to 228℃ at a rate of 8℃/min, increased to 240℃ at a rate of 20℃/min and held for 2 min, increased to 265℃ at a rate of 25℃/min and held for 2 min, increased to 280℃ at a rate of 30℃/min and held for 2 min. The flow rate was set at 1 mL/min. The injection volume was set at 1 μL with splitless. The inlet temperature was set at 250℃.

2.2 The Mass Spectrometry Parameters

The temperature and ionization voltage of electron ionization source (EI source) was 230 ℃ and 70 eV, respectively. The transmission line and quadrupole temperature were 280 ℃ and 150 ℃. The sample data was acquired in SIM mode after solvent delay for 4 min.

Supplementary Figures and Tables

Table S1. Study design and participants grouping.

| Healthy skin volunteers (n=32) |  |  |  | Inflammatory skin volunteers (n=32) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Pre-application (D0) |  | Post-application (D28) |  | Pre-application (D0) |  | Post-application (D28) |  |
| Group | No. | Group | No. | Group | No. | Group | No. |
| H0_1 | H0_11 | H28_1 | H28_11 | U0_1 | U0_11 | U28_1 | U28_11 |
|  | H0_12 |  | H28_12 |  | U0_12 |  | U28_12 |
|  | H0_13 |  | H28_13 |  | U0_13 |  | U28_13 |
|  | H0_14 |  | H28_14 |  | U0_14 |  | U28_14 |
|  | H0_15 |  | H28_15 |  | U0_15 |  | U28_15 |
|  | H0_16 |  | H28_16 |  | U0_16 |  | U28_16 |
|  | H0_17 |  | H28_17 |  | U0_17 |  | U28_17 |
|  | H0_18 |  | H28_18 |  | U0_18 |  | U28_18 |
| H0_2 | H0_21 | H28_2 | H28_21 | U0_2 | U0_21 | U28_2 | U28_21 |
|  | H0_22 |  | H28_22 |  | U0_22 |  | U28_22 |
|  | H0_23 |  | H28_23 |  | U0_23 |  | U28_23 |
|  | H0_24 |  | H28_24 |  | U0_24 |  | U28_24 |
|  | H0_25 |  | H28_25 |  | U0_25 |  | U28_25 |
|  | H0_26 |  | H28_26 |  | U0_26 |  | U28_26 |
|  | H0_27 |  | H28_27 |  | U0_27 |  | U28_27 |
|  | H0_28 |  | H28_28 |  | U0_28 |  | U28_28 |
| H0_3 | H0_31 | H28_3 | H28_31 | U0_3 | U0_31 | U28_3 | U28_31 |
|  | H0_32 |  | H28_32 |  | U0_32 |  | U28_32 |
|  | H0_33 |  | H28_33 |  | U0_33 |  | U28_33 |
|  | H0_34 |  | H28_34 |  | U0_34 |  | U28_34 |
|  | H0_35 |  | H28_35 |  | U0_35 |  | U28_35 |
|  | H0_36 |  | H28_36 |  | U0_36 |  | U28_36 |
|  | H0_37 |  | H28_37 |  | U0_37 |  | U28_37 |
|  | H0_38 |  | H28_38 |  | U0_38 |  | U28_38 |
| H0_4 | H0_41 | H28_4 | H28_41 | U0_4 | U0_41 | U28_4 | U28_41 |
|  | H0_42 |  | H28_42 |  | U0_42 |  | U28_42 |
|  | H0_43 |  | H28_43 |  | U0_43 |  | U28_43 |
|  | H0_44 |  | H28_44 |  | U0_44 |  | U28_44 |
|  | H0_45 |  | H28_45 |  | U0_45 |  | U28_45 |
|  | H0_46 |  | H28_46 |  | U0_46 |  | U28_46 |
|  | H0_47 |  | H28_47 |  | U0_47 |  | U28_47 |
|  | H0_48 |  | H28_48 |  | U0_48 |  | U28_48 |

Figure S1. The overlay analysis of the QC-TIC diagram (A-B) and the sample multi-peak detection diagram under both positive and negative ion modes (C-D) targeting organic acids.

Figure S2. The overlay analysis of the QC-TIC diagram (A-B) and the sample multi-peak detection diagram under both positive and negative ion modes (C-D) targeting amino acids.

Figure S3. The overlay analysis of the QC-TIC diagram (A-B) targeting free fatty acids.

Table S2. All detected organic acids in this study.

| No. | Name | No. | Name |
| --- | --- | --- | --- |
| 1 | indolelactic acid | 34 | pyruvic acid |
| 2 | kynurenic acid | 35 | trans-aconitic acid |
| 3 | phenaceturic acid | 36 | homovanillic acid |
| 4 | cinnamic acid | 37 | hippuric acid |
| 5 | maslinic acid | 38 | shikimic acid |
| 6 | 2-indolecarboxylic acid | 39 | kynurenine |
| 7 | 5-hydroxyindoleacetic acid | 40 | 2-hydroxyphenylacetic acid |
| 8 | 4-aminobutyric acid | 41 | 4-hydroxyphenylacetic acid |
| 9 | aminobenzoic acid | 42 | lactic acid |
| 10 | indole-3-acetic acid | 43 | methylmalonic acid |
| 11 | 3-hydroxyphenylacetic acid | 44 | succinic acid |
| 12 | 3-hydroxyhippuric acid | 45 | 2-hydroxy-2-methylbutyric acid |
| 13 | 4-hydroxyhippuric acid | 46 | 2-hydroxyisovaleric acid |
| 14 | oleanic acid | 47 | 3-hydroxyisovaleric acid |
| 15 | pyroglutamic acid | 48 | 2-methylsuccinic acid |
| 16 | 3-methyladipic acid | 49 | glutaric acid |
| 17 | sebacic acid | 50 | ethylmalonic acid |
| 18 | benzenepropanoic acid | 51 | adipic acid |
| 19 | 3-hydroxymethylglutaric acid | 52 | oxoglutaric acid |
| 20 | 4-coumaric acid | 53 | neochlorogenic acid |
| 21 | pantothenic acid | 54 | cryptochlorogenic acid |
| 22 | caffeic acid | 55 | fumaric acid |
| 23 | maleic acid | 56 | levulinic acid |
| 24 | gallic acid | 57 | cis-aconitic acid |
| 25 | azelaic acid | 58 | citraconic acid |
| 26 | carnosic acid | 59 | salicylic acid |
| 27 | suberic acid | 60 | 4-hydroxybenzoic acid |
| 28 | taurine | 61 | 3,4-dihydroxyphenylacetic acid |
| 29 | 3-hydroxyphenyl-hydracrylic acid | 62 | hydroxyphenyllactic acid |
| 30 | 3-D-hydroxybutyric acid | 63 | 5-hydroxymethyl-2-furoic acid |
| 31 | 3-phenyllactic acid | 64 | L-malic acid |
| 32 | ferulic acid | 65 | tartaric acid |
| 33 | benzoic acid |  |  |

Table S3. Differential Changed Organic Acids in Healthy and Inflammatory Skin Samples.

| Name | Healthy Samples (D28_H vs D0_H) |  |  | Inflammatory Samples (D28_U vs D0_U) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | FC | Log2FC | Type | FC |  | Log2FC | Type |
| benzoic acid | 2.43 | 1.28 | ↑ |  |  |  |  |
| 3,4-dihydroxyphenylacetic acid | 2.41 | 1.26 | ↑ |  |  |  |  |
| hippuric acid | 0 | -Inf | ↓ |  |  |  |  |
| indole-3-acetic acid | 0.19 | -2.40 | ↓ |  |  |  |  |
| trans-aconitic acid | 0.29 | -1.74 | ↓ |  |  |  |  |
| 3-hydroxymethylglutaric acid | 0.26 | -1.93 | ↓ |  |  |  |  |
| 4-hydroxyphenylacetic acid | Inf | Inf | ↑ |  | 0.14 | -2.81 | ↓ |
| oleanic acid |  |  |  |  | 0.25 | -2.00 | ↓ |
| aminobenzoic acid |  |  |  |  | 0.28 | -1.80 | ↓ |
| 3-methyladipic acid |  |  |  |  | 0.49 | -1.03 | ↓ |
| citraconic acid |  |  |  |  | 2.17 | 1.12 | ↑ |
| suberic acid |  |  |  |  | 3.23 | 1.69 | ↑ |

*FC means Fold changes

Figure S4. Volin plots of raw values of differential organic acids in healthy (A) and inflamed (B) skin before and after donkey oil treatment.

Table S4. All detected amino acids in this study.

| No. |  | Name | No. | Name | No. |  | Name |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2-Aminoethanesulfonic Acid |  | 32 | Beta-Alanine | 63 | Nα-Acetyl-L-Arginine |  |
| 2 | L-Cystine |  | 33 | Sarcosine | 64 | 1-Methylhistidine |  |
| 3 | 1,3-Dimethyluric Acid |  | 34 | L-Pipecolic Acid | 65 | γ-Glutamate-Cysteine |  |
| 4 | N-Propionylglycine |  | 35 | L-Theanine | 66 | Nα-Acetyl-L-glutamine |  |
| 5 | N-Isovaleroylglycine |  | 36 | Ethanolamine | 67 | N-Acetyl-L-Tyrosine |  |
| 6 | Succinic Acid |  | 37 | 3-N-Methyl-L-Histidine | 68 | γ-Aminobutyric Acid |  |
| 7 | 5-Hydroxy-tryptophan |  | 38 | Homoserine | 69 | D-Alanyl-D-Alanine |  |
| 8 | 3,7-Dimethyluric Acid |  | 39 | Creatine | 70 | Guanidinoethyl Sulfonate |  |
| 9 | Glycine |  | 40 | kynurenine | 71 | Homo-L-arginine |  |
| 10 | L-Alanine |  | 41 | L-Cystathionine | 72 | L-Tryptophyl-L-glutamic acid |  |
| 11 | L-Valine |  | 42 | 5-Aminovaleric Acid | 73 | Nicotinuric Acid |  |
| 12 | L-Leucine |  | 43 | N6-Acetyl-L-Lysine | 74 | N-Acetylneuraminic Acid |  |
| 13 | L-Methionine |  | 44 | Phosphorylethanolamine | 75 | N, N-Dimethylglycine |  |
| 14 | L-Isoleucine |  | 45 | Anserine | 76 | 4-Acetamidobutyric Acid |  |
| 15 | L-Proline |  | 46 | Trans-4-Hydroxy-L-Proline | 77 | L-Carnosine |  |
| 16 | L-Serine |  | 47 | D-Homocysteine | 78 | 6-Aminocaproic Acid |  |
| 17 | L-Tryptophan |  | 48 | α-Aminoadipic acid | 79 | 3-Chloro-L-Tyrosine |  |
| 18 | L-Phenylalanine |  | 49 | L-Ornithine | 80 | S-(5-Adenosyl)-L-Homocysteine |  |
| 19 | L-Tyrosine |  | 50 | L-tyrosine methyl ester | 81 | Kynurenic Acid |  |
| 20 | L-Cysteine |  | 51 | 2-Aminobutyric acid | 82 | N'-Formylkynurenine |  |
| 21 | L-Glutamic acid |  | 52 | (5-L-Glutamyl)-L-Alanine | 83 | Urea |  |
| 22 | L-Aspartate |  | 53 | 3-Iodo-L-Tyrosine | 84 | argininosuccinic acid |  |
| 23 | L-Asparagine Anhydrous |  | 54 | P-Aminohippuric Acid | 85 | 5-Hydroxylysine |  |
| 24 | L-Glutamine |  | 55 | Glycyl-L-Proline | 86 | O-Phospho-L-Serine |  |
| 25 | L-Lysine |  | 56 | Trimethylamine N-Oxide | 87 | N-Acetylaspartate |  |
| 26 | L-Histidine |  | 57 | 1,3,7-Trimethyluric Acid | 88 | L-Homocystine |  |
| 27 | L-Arginine |  | 58 | 3-Hydroxyhippuric Acid | 89 | 3-Aminoisobutanoic Acid |  |
| 28 | L-Threonine |  | 59 | N8-Acetylspermidine | 90 | Glutathione Oxidized |  |
| 29 | L-Citrulline |  | 60 | (S)-β-Aminoisobutyric Acid | 91 | L-α-Aspartyl-L-phenylalanine |  |
| 30 | 5-Hydroxy-Tryptamine |  | 61 | S-Sulfo-L-Cysteine | 92 | N-Glycyl-L-Leucine |  |
| 31 | L-Homocitrulline |  | 62 | Methionine Sulfoxide |  |  |  |

Table S5. Differential Changed Amino Acids in Healthy and Inflammatory Skin Samples.

| Name | Healthy Samples (D28_H vs D0_H) |  |  | Inflammatory Samples (D28_U vs D0_U) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | FC | Log2FC | Type | FC |  | Log2FC | Type |
| N-Acetylaspartate | 0.39 | -1.35 | ↓ |  |  |  |  |
| (5-L-Glutamyl)-L-Alanine | 0.29 | -1.80 | ↓ |  |  |  |  |
| L-Valine | 0.43 | -1.21 | ↓ |  |  |  |  |
| Beta-Alanine | 0.49 | -1.03 | ↓ |  |  |  |  |
| L-Asparagine Anhydrous | 0.43 | -1.22 | ↓ |  |  |  |  |
| L-Alanine | 0.37 | -1.44 | ↓ |  |  |  |  |
| L-Glutamine | 0.38 | -1.39 | ↓ |  |  |  |  |
| L-Tryptophan | 0.46 | -1.13 | ↓ |  | 0.34 | -1.54 | ↓ |
| 5-Hydroxy-Tryptamine | 2.81 | 1.49 | ↑ |  | 0.29 | -1.81 | ↓ |
| 5-Aminovaleric Acid | 0.29 | -1.75 | ↓ |  | 0.48 | -1.05 | ↓ |
| argininosuccinic acid |  |  |  |  | 2.61 | 1.38 | ↑ |
| 6-Aminocaproic Acid |  |  |  |  | 3.06 | 1.62 | ↑ |
| 2-Aminobutyric acid |  |  |  |  | 0 | -lnf | ↓ |
| Anserine |  |  |  |  | 0.33 | -1.60 | ↓ |

*FC means Fold changes

Figure S5. Volin plots of raw values of differential amino acids in healthy (A) and inflamed (B) skin before and after donkey oil treatment.

Table S6. All Detected Free Fatty Acids in This Study.

| No. | Name | No. | Name |
| --- | --- | --- | --- |
| 1 | hexanoic acid | 25 | trans-vaccenic acid |
| 2 | octanoic acid | 26 | stearic acid |
| 3 | nonanoic acid | 27 | cis-10-carboenoic acid |
| 4 | decanoic acid | 28 | nonadecylic acid |
| 5 | cis-10-undecanoic acid | 29 | hexadecanedioic acid |
| 6 | hendecanoic acid | 30 | arachidonic acid |
| 7 | lauric acid | 31 | cis-5,8,11,14,17-eicosapentaenoic acid |
| 8 | tridecanoic acid | 32 | cis-8,11,14-eicosatrienoic acid |
| 9 | myristoleic acid | 33 | cis-11,14-eicosadienoic acid |
| 10 | myristic acid | 34 | cis-11-eicosenoic acid |
| 11 | cis-10-pentadecenoic acid | 35 | cis-11,14,17-eicosatrienoic acid |
| 12 | pentadecanoic acid | 36 | trans-11-eicosenoic acid |
| 13 | cis-9-palmitoleic acid | 37 | arachidic acid |
| 14 | trans-9-palmitelaidic acid | 38 | heneicosanoic acid |
| 15 | palmitic acid | 39 | cis-4,7,10,13,16,19-docosahexaenoic acid |
| 16 | cis-10-heptadecanoic acid | 40 | cis-7,10,13,16-docosatetraenoic acid |
| 17 | trans-10-heptadecenoic acid | 41 | cis-7,10,13,16,19-docosapentaenoic acid |
| 18 | heptadecanoic acid | 42 | cis-13,16-docosadienoic acid |
| 19 | γ-linolenic acid | 43 | erucic acid |
| 20 | linoleic acid | 44 | trans-13-docosenoic acid |
| 21 | α-linolenic acid | 45 | behenic acid |
| 23 | cis-9-octadecenoic acid | 46 | tricosanoic acid |
| 22 | linolelaidic acid | 47 | nervonic acid |
| 24 | trans-9-octadecenoic acid | 48 | lignoceric acid |

Table S7. Differential Changed Free Fatty Acids in Healthy and Inflammatory Skin Samples.

| Name | Healthy Samples (D28_H vs D0_H) |  |  | Inflammatory Samples (D28_U vs D0_U) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | FC | Log2FC | Type | FC |  | Log2FC | Type |
| decanoic acid | 0.23 | -2.10 | ↓ |  | 0.12 | -3.11 | ↓ |
| octanoic acid | 0.23 | -2.14 | ↓ |  | 0.05 | -4.38 | ↓ |
| cis-11,14,17-eicosatrienoic acid | Inf | Inf | ↑ |  | Inf | Inf | ↑ |
| tridecanoic acid | 2.02 | 1.02 | ↑ |  | 0.45 | -1.16 | ↓ |
| myristic acid | 2.27 | 1.19 | ↑ |  | 0.43 | -1.20 | ↓ |
| pentadecanoic acid | 2.24 | 1.17 | ↑ |  | 0.39 | -1.33 | ↓ |
| hexanoic acid | 2.05 | 1.03 | ↑ |  |  |  |  |
| cis-9-octadecenoic acid | 3.33 | 1.74 | ↑ |  |  |  |  |
| trans-9-octadecenoic acid | 2.28 | 1.19 | ↑ |  |  |  |  |
| linoleic acid | 2.37 | 1.24 | ↑ |  |  |  |  |
| lauric acid |  |  |  |  | 0.39 | -1.36 | ↓ |

*FC means Fold changes

Figure S6. Volin plots of raw values of differential amino acids in healthy (A) and inflamed (B) skin before and after donkey oil treatment.