## Slide 1
Oven Temperature Program | Temperature (°C)
Initial | 27°C
Ramp 1 | 5°C /min to 45°C
Ramp 2 | 25°C /min to 100°C
Ramp 3 | 5°C /min to 200°C
Table S1. GC-FID instrument settings.

## Slide 2
Instrument Parameter | Value
Sample Plate (V) | 3.00
MALDI Extraction (V) | 40
Hexapole Bias (V) | 5.00
Aperture 0 (V) | 80
Laser Energy | 500
Laser Firing Rate (Hz) | 1000
Mass Range (Da) | 50-1200
Table S2. MALDI –ToF Synapt-G2 method set up for metabolite extraction analysis, negative ionisation mode.

## Slide 3
Table S3. QTOF MS/MS instrument settings following optimisation for each metabolite intermediate: polar phase, negative ionisation mode.
Instrument Settings | Apigenin | Cyanidin | Luteolin | Quercetin | Dimethylallyl diphosphate | Geranyl diphosphate | Isopentenyl diphosphate | 2-C-Methyl-erythritol 4-phosphate
TOF masses (Da) | 100-280 | 100-340 | 100-300 | 100-310 | 100-260 | 100-325 | 100-250 | 100-225
Declustering potential | -120.00 | -120.00 | -120.00 | -120.00 | -120.00 | -120.00 | -120.00 | -120.00
Focusing potential | -265.00 | -265.00 | -265.00 | -265.00 | -265.00 | -265.00 | -265.00 | -265.00
Collison energy | -40.00 | -47.00 | -40.00 | -38.00 | -25.00 | -25.00 | -32.00 | -31.00
Collison gas | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Nitrogen
Collisionally activated dissociation (CAD) | 7.00 | 4.00 | 3.00 | 4.00 | 4.00 | 4.00 | 3.00 | 6.00
Curtain gas (CUR) | 20.00 | 20.00 | 20.00 | 20.00 | 20.00 | 20.00 | 20.00 | 20.00
Ion Spray Voltage (IS) | -1500.00 | -1500.00 | -1500.00 | -1500.00 | -1500.00 | -1500.00 | -1800.00 | -1800.00

## Slide 4
Bin | Detected Mass | Standard error | Accurate Mass | Δppm | Name | Chemical Formula | Chemical group | Pathway
194.2 | 194.1057 194.1051 194.1060 194.1048 194.1059 194.105 194.0729 194.0766 | 0.000718505 0.000619476 0.000826419 0.000830944 0.000935665 0.001394184 0.000439282 0.002208223 | 195.1137 195.1131 195.1140 195.1128 195.1139 195.113 195.0809 195.0846 | 39 30 2 29 | 6-Hydroxypseudooxynicotine Glucosaminic acid D-Glucose oxime 2-(3-pyridyl)- Benzimidazole Damascenone | C10H15N2O2 C6H13NO6 C12H9N3 C10H13NO3 | Ketone Glucosinolate Indole Ketone | Nicotinate metabolism Pentose Phosphate Tryptophan metabolism Shikimate biosynthesis
269 | 269.0861 269.0844 269.0864 269.0894 269.0799 269.0879 269.0356 269.0359 | 0.000526189 0.006887069 0.001046049 0.002254163 0.0054946 0.00065228 0.000204252 0.000403113 | 270.094 270.0924 270.0943 270.0974 270.0878 270.0959 270.0436 270.0439 | 15 9 16 7 22 36 35 | Isomedicarpin Strobopinin Vignafuran Apigenin Demethyltexasin Sulfuretin | C16H14O4 C15H10O5 | Flavonoid Flavonone Flavonoid Flavone Flavonoid Flavonoid | Flavonoid biosynthesis
284.2 | 284.0745 284.0736 284.0776 284.0745 284.0736 284.0748 284.0224 284.0228 | 0.000207289 0.00062149 0.002355446 0.000178536 0.000585769 0.000693722 0.00030078 0.000633813 | 285.0824 285.0816 285.0856 285.0824 285.0815 285.0828 285.0304 285.0307 | 11 13 0 11 14 9 | Buchananine | C12H15NO7 | Alkaloid | Pyridine alkaloid biosynthesis
Table S4: Discriminant mass bins and their associated detected and accurate masses. The putatively identified compounds, their chemical groups, and the associated pathways are displayed. An error in parts per million is included to show the putative compounds’ variation from the detected mass (Data from MALDI-ToF analysis, polar phase analysed in negative ESI mode).

## Slide 5
285 | 285.0826 285.0824 285.0829 285.0831 285.0829 285.0826 285.0404 285.0365 | 0.000174553 0.000477461 0.000201556 0.000151554 0.000188331 0.000108253 0.001483661 0.002904845 | 286.0905 286.0903 286.0908 286.091 286.0909 286.0906 286.0484 286.0445 | 20 0 14 | Gummiferol Carajuron (-)-Nissolin Kushenin Nissicarpin Calythropsin Luteolin Kaempferol Cyanidin Fistein Orobol Scutellarein | C15H10O6 | Flavonoid Anthocyanin Flavonoid Isoflavonoid Flavonoid Chalcone Flavone Flavonol Anthocyanin Flavonol Isoflavone Flavone | Flavonoid biosynthesis
286.2 | 286.0862 286.0865 286.0873 286.0876 286.0860 286.0862 286.0347 286.0352 | 0.000296595 0.000427931 0.000403887 0.000204252 0.000477624 3.53553E-05 0.000422788 0.001036445 | 287.0942 287.0945 287.0953 287.0956 287.0940 287.0942 287.0427 287.0432 | 24 20 19 25 24 | Volkenin Tetraphyllin B Rutaecarpine | C12H17NO7 | Glucoside Glycosyl Alkaloid | Anthocyanin biosynthesis Glycogen synthesis Tryptophan metabolism
301 | 301.0786 301.0766 301.0784 301.0792 301.0764 301.0781 301.0253 301.0250 | 0.000408312 0.000136931 0.000127475 0.000143069 0.000178098 0.000303109 0.000482668 0.000764853 | 302.0866 302.0846 302.0864 302.0872 302.0844 302.0861 302.0333 302.0330 | 22 14 22 24 15 2 33 34 | Haematoxylin Hesperetin Homoeriodictyol Quercetin Morin Delphinidin Isoetin Herbacetin | C16H14O6 C15H10O7 | Phenol Flavonone Flavonone Flavonol Flavonol Anthocyanin Flavone Flavonol | Flavonoid biosynthesis
Table S4. Continued

## Slide 6
307 | 307.1258 307.1259 307.1267 307.1268 307.1268 307.1261 307.0724 307.0721 | 0.000408312 0.000136931 0.000127475 0.000143069 0.000178098 0.000303109 0.000482668 0.000764853 | 308.1338 308.1339 308.1347 308.1347 308.1347 308.1342 308.0804 308.0801 | 32 | Glutathione Allamandin | C10H16N3O6S1 C15H16O7 | Thiol Terpenoid | Glutathione biosynthesis Terpenoid biosynthesis
315 | 315.0129 315.0126 314.9351 314.9869 314.9351 314.9087 315.0544 314.9989 | 0.000225 0 0.022553641 0.043206756 0.022618093 7.5E-05 0.003970103 0.036619539 | 316.0209 316.0209 315.9431 315.9431 315.9431 315.9166 316.0624 316.0068 | 2 | Lettowianthine | C19H11NO4 | Alkaloid | Alkaloid biosynthesis
341 | 341.1546 341.1558 341.1557 341.1556 341.1586 341.1539 341.0968 341.0976 | 0.000207289 0.000583631 0.000219018 0.000143614 0.002112019 0.001644118 0.000429207 0.001096586 | 342.1626 342.16375 342.1637 342.1635 342.1665 342.1618 342.1047 342.1056 | 11 26 18 35 28 16 33 | (±)-Pavine Magnoflorine Glucocaffeic acid Dulxanthone A Maltose | C20H24N1O4 C15H18O9 C19H18O6 C12H22O11 | Alkaloid Alkaloid Glycoside Carbonyl Carbohydrate | Isoquinoline alkaloid biosynthesis Isoquinoline alkaloid biosynthesis Maltose degredation
Table S4. Continued

## Slide 7
365 | 365.1033 365.1031 365.1039 365.1038 365.1035 365.1034 365.054 365.060 | 6.49519E-05 0.000358818 0.000296595 0.000387903 0.000389511 0.000134048 0.006458328 0.009780433 | 366.1113 366.1111 366.1119 366.1118 366.1115 366.1114 366.062 366.0682 | 0 28 34 11 17 | Derrubone Glycyrol Glycyrrhizaisoflavone B Wampetin Salicin 6-phosphate Arnottin II | C21H18O6 C13H19O10P C20H14O7 | Isoflavone Glycerin Isoflavone Furocoumarin Glycoside Benzofuran | Flavonoid biosynthesis Galactose metabolism Flavonoid biosynthesis Phenylpropanoid metabolism Glycolysis / Gluconeogenesis/Phosphotransferase system (PTS) Phenylpropanoid metabolism
385 | 385.19665 385.195575 385.19725 385.196625 385.196625 385.19495 385.131225 385.131025 | 0.001184536 0.000490376 0.000493077 0.000450521 0.000865574 0.00071807 0.000362931 0.000483962 | 386.2046 386.2035 386.2052 386.2046 386.2046 386.2029 386.1392 386.139 | 4 4 | Pterxyin Isosamidin Samidin Peucenidin | C21H22O7 | Phenylpropanoid | Shikimate pathway
447 | 447.1484 447.1476 447.1482 447.1486 447.1487 447.1479 447.0956 447.0869 | 0.000365718 0.000296859 0.000174553 0.000250936 0.000856866 0.000304908 0.000343466 0.004589186 | 448.1564 448.1555 448.1562 448.1566 448.1567 448.1559 448.1036 448.0949 | 39 5 14 | Dichotosin Kaempferol Astragalin Quercetin Oroboside Isoorientin Orientin Luteolin Scutellarein Fisetin Herbacetin Carthamone Maritimein Naringenin | C23H28O9 C21H19O11 C21H20O11 | Glucosyloxy flavan Glucoside Glucoside Glycoside Glycoside Glucoside Flavone Flavone Flavone Glucoside Flavonoid Chalcone Phenol Flavonone | Flavonoid biosynthesis
Table S4. Continued

## Slide 8
448.2 | 448.15062 448.1504 448.1511 448.1509 448.1508 448.1503 448.0901 448.0842 | 0.000134048 0.000262202 0.000201556 0.000262202 0.000243349 5.44862E-05 0.003807127 0.002275687 | 449.1586 449.1584 449.159 449.1589 449.1588 449.1582 449.0981 449.0922 | 28 24 | Glucolesquerellin Cyanidin 7-glucoside | C14H27NO9S3 C21H21O11 | Glucosinolate Flavonoid | Glucosinolate biosynthesis Anthocyanin biosynthesis
463 | 463.141675 463.142525 463.143575 463.14355 463.141725 463.141775 463.0728 463.0716 | 0.000397453 0.000198037 0.000530772 0.000147902 0.000717962 0.000720568 0.000671751 0.000594112 | 464.1496 464.1505 464.1515 464.1515 464.1497 464.1497 464.0808 464.0796 | 36 22 20 20 24 24 33 35 | Hesperetin 7-O-glucoside Diffutin Enhydrin Quercimeritrin Myricitrin Gossypetin 8-rhamnoside | C22H24O11 C23H28O10 C21H20O12 | Flavonoid Flavan Sequisterpene Flavonoid | Flavonoid biosynthesis Sequisterpenoid biosynthesis
489 | 489.1609 489.1605 489.1613 489.1615 489.1614 489.1615 489.0975 489.1117 | 0.00032476 0.000246221 0.000219374 0.000190394 489.161425 7.5E-05 0.004257695 0.013123518 | 490.1689 490.1685 490.1692 490.1695 490.1694 490.1692 490.1055 490.1197 | 6 12 | Demethylalangiside Cyanidin 3-(6''-acetyl-galactoside) | C24H29NO10 C23H23O12 | Alkaloid Anthocyanin | Isoquinoline alkaloid biosynthesis Flavonoid biosynthesis
Table S4. Continued

## Slide 9
Table S5. 2-way ANOVA of isoprene emission measurements from GC-FID analysis. (Arc-sin square root transformed data. Untransformed data is presented in Figure 1.)
.
Factor | d.f. | F | P
Temperature | 1, 22 | 0.7155 | 0.4067
CO2 | 1, 22 | 3.277 | 0.0839
Interaction | 1, 22 | 4.306 | 0.0499

## Slide 10
M/Z | CO2 |  |  | Heat |  |  | CO2*Heat |  | 
 | d.f | F | P | d.f | F | P | d.f | F | P
269 | 1, 12 | 37.23 | <0.001 | 1, 12 | 39.47 | <0.001 | 1, 12 | 39.89 | <0.001
285 | 1, 12 | 51.87 | <0.001 | 1, 12 | 43.25 | <0.001 | 1, 12 | 46.63 | <0.001
301 | 1, 12 | 26.03 | <0.001 | 1, 12 | 16.76 | 0.001 | 1, 12 | 21.91 | 0.001
365 | 1, 12 | 0.10 | 0.761 | 1, 12 | 0.20 | 0.661 | 1, 12 | 0.97 | 0.344
385 | 1, 12 | 11.58 | 0.005 | 1, 12 | 1.01 | 0.335 | 1, 12 | 0.18 | 0.675
447 | 1, 12 | 75.42 | <0.001 | 1, 12 | 44.28 | <0.001 | 1, 12 | 87.38 | <0.001
Table S6. 2-way ANOVA of percentage total ion counts of mass bins from loadings plots (MALDI-ToF analysis, polar phase, negative ionisation mode).

## Slide 11
Data:
4 points per treatment
16 plants
Control
4 plants
eCO2
4 plants
Hs
4 plants
Hs*eCO2
4 plants
GC-FID
16 samples
2 reps
sample collection & analysis
2 leaf disc per plant:
32 samples
Extraction: 2 phases
64 samples
Samples pooled:
16 samples
Polar phase run:
32 samples
Metabolomics
GC-FID
Figure S1: Flow chart diagram to visualise the sampling strategy and number of replicates, and the subsequent analyses of samples and processing of data.

## Slide 12
Figure S2: Principal Components Analysis of all treatments. Data from MALDI-ToF analysis (polar phase, negative ESI mode). Data points represent both tissue samples from each plant (32 samples). Red = Hs* eCO2; Blue = eCO2; Yellow = Hs; Green = control.
t[1] 0.357
t[2] 0.117

## Slide 13
A
B
C
D
Figure S3: Loading plots for OPLS-DA plots from multivariate analysis (following PCA and using the same data). Data from MALDI-ToF analysis (polar phase, negative ESI mode). Numbers represent mass bins that show greatest variation between the treatments, and subsequently chosen for metabolite identification and pathway analysis. Error bars that do not cross the 0 (x axis) can be used for putative identification of individual metabolites. A Hs vs. control; B eCO2 vs. control; C Hs* eCO2 vs eCO2; D Hs*eCO2 vs Hs.

## Slide 14
(A)
(B)
Figure S4: MS/MS fragmentation patterns of Apigenin analysed in polar phase and negative ESI mode. MS/MS is used for validation of metabolites in the Flavonoid pathway that have been putatively identified and figures A and B show almost identical fragmentation and intensity, thus demonstrating the compound of interest has been confirmed in the sample. A Apigenin in standard solution; B Apigenin from Hs treatment in plant tissue sample.

## Slide 15
(A)
(B)
Figure S5: MS/MS fragmentation patterns of 2-C-methyl-D-erythritol 4-phosphate (MEP) analysed in polar phase and negative ESI mode. MS/MS is used for validation of metabolites in the MEP pathway that have been putatively identified and figures a and b show almost identical fragmentation and intensity, thus demonstrating the compound of interest has been confirmed in the sample. (a) 2-C-methyl-D-erythritol 4-phosphate (MEP) in standard solution; (b) 2-C-methyl-D-erythritol 4-phosphate (MEP) in Hs treatment in plant tissue sample.