## Slide 1
A
B
Supplementary Figure S1

## Slide 2
Supplementary Figure S1
Gating strategies for murine leukocytes.
Depicted is a typical gating strategies for murine leukocyte subpopulations. Further analysis of a cell population defined by a distinct gate is indicated by green arrows originating from that gate. Red arrows indicate further analysis of cells which combine features defined by the two originating gates (“intersection”, ≙ Boolean operator “AND” ).
A) Among aggregate-excluded (‘singletts’) viable (= DAPI negative) CD45+ leukocytes, granulocytes were identified by their high granularity resulting in their distinct light scatter characteristics (SSChigh) For this identification the SSC was plotted against both FSC and a fluorescence channel that represents staining for Ly6G and NK1.1. The intersection of highly granular populations in both plots defined the granulocyte population. Among those, neutrophils and eosinophils were distinguished by Ly6G expression of neutrophils and the high SSC of eosinophils. The intersection of populations with low SSC in the two abovementioned plots contains lymphocytes and monocytes. NK cells were defined by their NK1.1 expression. NK1.1 negative cell were distinguished as B220+ CD11b negative B cells, B220 negative CD11b negative T cells (whose identity was verified by additional CD3 or TCRß staining in several experiments), and CD11bhigh monocytes. The latter are further discriminated as Gr-1+ CD62L+ classical monocytes and non-classical monocytes which are negative/low for both Gr-1 and CD62L.
B) Among aggregate-excluded viable murine leukocytes basophils were characterized as cells with low side-scatter characteristics which were negative for lineage markers CD19, CD3 and Gr-1 but were CD49b+ and positively stained for IgE.

## Slide 3
D
Supplementary Figure S2
Influence of Truestain Fc block on specific detection of Fc receptors.
Depicted are median fluorescence intensities of indicated peripheral human blood leukocyte populations - either untreated or pre-incubated with 5% (v/v) Truestain Fc block - upon staining with antibodies specific A) for FcRI, B) for FcRII, C) for FcRIIb or D) for FcRIII.
A
B
C
Supplementary Figure S2

## Slide 4
A
B
Supplementary Figure S3

## Slide 5
Supplementary Figure S3 (continued)
D
Supplementary Figure S3
Gating strategies for human peripheral blood leukocytes.
Depicted are typical gating strategy for human leukocyte subpopulations (i.e. neutrophils, eosinophils and monocytes (A), B cells, T cells and NK cells (B) and basophils (C) as well as platelets (D). Further analysis of a cell population defined by a distinct gate is indicated by green arrows originating from that gate.
A) Among aggregate-excluded (‘singlet’) viable (= DAPI negative) CD45+ leukocytes, neutrophils and eosinophils were identified by their high granularity resulting in their distinct light scatter characteristics (SSChigh) and distinguished from monocytes by the high CD33 expression of the latter. Within these SSChigh cells neutrophils and eosinophils were distinguished by CD16 expression of neutrophils (and/or the intrinsic auto-fluorescence of the eosinophils). Among the SSClow cells monocytes can be characterized among CD56 negative cells as CD33+ CD14+ cells which are further distinguished as classical CD14high CD16low and much less frequent non-classical CD14low CD16+ monocytes. B) Among the CD14- CD33- population of singular viable SSClow CD45+ leukocytes, B cells were identified by their expression of CD19 and T cells as CD3+ CD56- cells. The remaining CD19- CD3- leukocytes are mainly CD56+ NK cells. C) Among the singular viable SSClow CD45dim leukocytes, basophils were identified as CD123+ HLA-DR negative cells which were positively stained for IgE receptor FcεR1. D) Platelets were characterized by their small size as reflected by low light scatter and by their expression of CD41a.
C

## Slide 6
Supplementary Figure S4
Titration of anti-FcRII clone IV.3 on human leukocyte populations.
Depicted are the fluorescence intensities of the indicated cell populations upon staining with serial dilutions of PE conjugated anti-FcRII clone IV.3. Cells were stained either without blocking of FcRIIb or after pre-incubation with anti-FcRIIb antibody 2B6-N297Q.
Supplementary Figure S4

## Slide 7
non-classical
monocytes
classical
monocytes
neutrophils
eosinophils
B cells
T cells
NK cells
FMO
anti-FcRI
FMO
anti-FcγRI
numbers
fluorescence
intensity
numbers
QSC anti-mouse IgG beads
with anti-huFcRI-PE
B 5
#1 418
#2 5501
#3 16149
#4 30231
MFI:
bead:
Chart: FACSDiva Calibration Plot
| 418 | 5501 | 16194 | 30231
 | 3352 | 43852 | 146047 | 328853
fluorescence
intensity
A
B
C
Supplementary Figure S5

## Slide 8
D
Supplementary Figure S5 (continued)

## Slide 9
 | Channel |  | ABC calc |  |  |  |  |  | 
B cells |  |  |  |  | B cells | ABC | = ABC calcanti-CD64 - ABC calcFMO |  | 
donor 1 FMO | 11 |  | 68 |  | donor 1 | 53 |  |  | 
donor 2 FMO | 19 |  | 121 |  | donor 2 | 68 |  |  | 
donor 3 FMO | 19 |  | 121 |  | donor 3 | 34 |  |  | 
donor 4 FMO | 14 |  | 88 |  | donor 4 | 88 |  |  | 
donor 5 FMO | 13 |  | 81 |  | donor 5 | 20 |  |  | 
donor 6 FMO | 17 |  | 108 |  | donor 6 | 61 |  |  | 
donor 1 + anti-CD64 | 19 |  | 121 |  |  |  |  |  | 
donor 2 + anti-CD64 | 29 |  | 189 |  |  |  |  |  | 
donor 3 + anti-CD64 | 24 |  | 155 |  |  |  |  |  | 
donor 4 + anti-CD64 | 27 |  | 176 |  |  |  |  |  | 
donor 5 + anti-CD64 | 16 |  | 101 |  |  |  |  |  | 
donor 6 + anti-CD64 | 26 |  | 169 |  |  |  |  |  | 
non-classical monocytes |  |  |  |  | non-cl. monocytes | ABC |  |  | 
donor 1 FMO | 53 |  | 359 |  | donor 1 | 5866 |  |  | 
donor 2 FMO | 48 |  | 323 |  | donor 2 | 6011 |  |  | 
donor 3 FMO | 44 |  | 294 |  | donor 3 | 8444 |  |  | 
donor 4 FMO | 34 |  | 224 |  | donor 4 | 3534 |  |  | 
donor 5 FMO | 44 |  | 294 |  | donor 5 | 26658 |  |  | 
donor 6 FMO | 85 |  | 591 |  | donor 6 | 2285 |  |  | 
donor 1 + anti-CD64 | 786 |  | 6225 |  |  |  |  |  | 
donor 2 + anti-CD64 | 799 |  | 6334 |  |  |  |  |  | 
donor 3 + anti-CD64 | 1083 |  | 8739 |  |  |  |  |  | 
donor 4 + anti-CD64 | 488 |  | 3759 |  |  |  |  |  | 
donor 5 + anti-CD64 | 3139 |  | 26952 |  |  |  |  |  | 
donor 6 + anti-CD64 | 379 |  | 2876 |  |  |  |  |  | 
classical monocytes |  |  |  |  | class. monocytes | ABC |  |  | 
donor 1 FMO |  | 27 | 176 |  | donor 1 | 65900 |  |  | 
donor 2 FMO |  | 23 | 148 |  | donor 2 | 77438 |  |  | 
donor 3 FMO |  | 34 | 224 |  | donor 3 | 97347 |  |  | 
donor 4 FMO |  | 23 | 148 |  | donor 4 | 77332 |  |  | 
donor 5 FMO |  | 15 | 94 |  | donor 5 | 125415 |  |  | 
donor 6 FMO |  | 24 | 155 |  | donor 6 | 75871 |  |  | 
donor 1 + anti-CD64 |  | 7324 | 66075 |  |  |  |  |  | 
donor 2 + anti-CD64 |  | 8524 | 77586 |  |  |  |  |  | 
donor 3 + anti-CD64 |  | 10585 | 97571 |  |  |  |  |  | 
donor 4 + anti-CD64 |  | 8513 | 77480 |  |  |  |  |  | 
donor 5 + anti-CD64 |  | 13428 | 125509 |  |  |  |  |  | 
donor 6 + anti-CD64 |  | 8362 | 76026 |  |  |  |  |  | 
NK cells |  |  |  |  | NK cells | ABC |  |  | 
donor 1 FMO |  | 35 | 231 |  | donor 1 | 106 |  |  | 
donor 2 FMO |  | 27 | 176 |  | donor 2 | 183 |  |  | 
donor 3 FMO |  | 28 | 183 |  | donor 3 | 133 |  |  | 
donor 4 FMO |  | 29 | 189 |  | donor 4 | -21 |  |  | 
donor 5 FMO |  | 13 | 81 |  | donor 5 | 150 |  |  | 
donor 6 FMO |  | 34 | 224 |  | donor 6 | 42 |  |  | 
donor 1 + anti-CD64 |  | 50 | 337 |  |  |  |  |  | 
donor 2 + anti-CD64 |  | 53 | 359 |  |  |  |  |  | 
donor 3 + anti-CD64 |  | 47 | 316 |  |  |  |  |  | 
donor 4 + anti-CD64 |  | 26 | 169 |  |  |  |  |  | 
donor 5 + anti-CD64 |  | 35 | 231 |  |  |  |  |  | 
donor 6 + anti-CD64 |  | 40 | 266 |  |  |  |  |  | 
T cells |  |  |  | T cells | ABC
donor 1 FMO | 21 | 135 |  | donor 1 | 62
donor 2 FMO | 22 | 141 |  | donor 2 | 62
donor 3 FMO | 26 | 169 |  | donor 3 | 28
donor 4 FMO | 20 | 128 |  | donor 4 | 41
donor 5 FMO | 15 | 94 |  | donor 5 | 68
donor 6 FMO | 30 | 196 |  | donor 6 | 42
donor 1 + anti-CD64 | 30 | 196 |  |  | 
donor 2 + anti-CD64 | 31 | 203 |  |  | 
donor 3 + anti-CD64 | 30 | 196 |  |  | 
donor 4 + anti-CD64 | 26 | 169 |  |  | 
donor 5 + anti-CD64 | 25 | 162 |  |  | 
donor 6 + anti-CD64 | 36 | 238 |  |  | 
neutrophils |  |  |  | neutrophils | ABC
donor 1 FMO | 90 | 628 |  | donor 1 | 1059
donor 2 FMO | 79 | 547 |  | donor 2 | 1156
donor 3 FMO | 79 | 547 |  | donor 3 | 5728
donor 4 FMO | 70 | 481 |  | donor 4 | 612
donor 5 FMO | 56 | 380 |  | donor 5 | 6736
donor 6 FMO | 89 | 621 |  | donor 6 | 1372
donor 1 + anti-CD64 | 229 | 1688 |  |  | 
donor 2 + anti-CD64 | 231 | 1703 |  |  | 
donor 3 + anti-CD64 | 792 | 6275 |  |  | 
donor 4 + anti-CD64 | 152 | 1094 |  |  | 
donor 5 + anti-CD64 | 892 | 7116 |  |  | 
donor 6 + anti-CD64 | 268 | 1993 |  |  | 
eosinophils |  |  |  | eosinophils | ABC
donor 1 FMO | 339 | 2556 |  | donor 1 | 910
donor 2 FMO | 359 | 2716 |  | donor 2 | 1239
donor 3 FMO | 363 | 2748 |  | donor 3 | 1076
donor 4 FMO | 413 | 3150 |  | donor 4 | -177
donor 5 FMO | 419 | 3198 |  | donor 5 | 10736
donor 6 FMO | 404 | 3077 |  | donor 6 | 170
donor 1 + anti-CD64 | 452 | 3466 |  |  | 
donor 2 + anti-CD64 | 512 | 3954 |  |  | 
donor 3 + anti-CD64 | 496 | 3824 |  |  | 
donor 4 + anti-CD64 | 391 | 2973 |  |  | 
donor 5 + anti-CD64 | 1683 | 13934 |  |  | 
donor 6 + anti-CD64 | 425 | 3247 |  |  | 
E
Supplementary Figure S5
Exemplary calculation of ABCs for anti-FcR antibodies using the example of human FcγRI.
Depicted are histograms of the indicated cell populations of one of the donors, showing FMO controls and probes upon staining with anti-FcRI-PE antibody (A), as well as histograms of the QSC reference beads accordingly stained with anti-FcRI-PE antibody (B). In C) the calibration blot of the Quickcal program is shown, which is gained by fitting the measured MFI values (“Channels”) of the QSC bead to their known numbers of antibody binding sites. This calibration curve is used by Quickcal software to calculate the individual ABC values of cell populations based on their MFI as shown in D). In E) the calculation of the respective MFI values is depicted, which is achieved by subtracting from the ABC values of anti-FcRI-incubated cell populations their virtual ‘background’ ABC values that correspond to their intrinsic fluorescence in the absence of anti-FcRI antibody.
Supplementary Figure S5 (continued)

## Slide 10
Supplementary Figure S6
Supplementary Figure S6
Activating Fc gamma receptors on PBLs of FcR knockout mice.
Depicted are numbers of individual anti-FcR binding sites for Fc receptors I and IV on activating-receptor expressing PBLs of C57BL/6 wt mice and mice lacking one of the activating receptors, respectively (n=5-6).

## Slide 11
Supplementary Figure S7
Supplementary Figure S7
Activating Fc gamma receptors on PBLs of FcRIIb knockout mice.
Depicted are numbers of individual anti-FcR binding sites for Fc receptors I, and IV on activating-receptor expressing PBLs of C57BL/6 wt mice and mice lacking FcRIIb from one of two experiments. (n=4-5)

## Slide 12
Supplementary Figure S8
Supplementary Figure S8
Correlation of FcγRIIb expression with FcγIIIa haplotypes in human donors.
Individual values are depicted for classical monocytes, non-classical monocytes and B cells. Data from individuals bearing the low affinity haplotype of FcRIIIa, - i.e. being homozygous with phenylalanine at position 158 - are depicted in red, those with the high affinity haplotype bearing at least one valine allele are shown in blue. Depicted are values from two measurements with ten donors (bright red and blue symbols) and six donors (dark red and blue symbols), respectively.
classical
monocytes
non-classical
monocytes
B cells

## Slide 13
sample#
1
3
4,13,16
2,11,12,
9
5,6,15
7,8,10,14
haplotype
non-classical monocytes
A
B
age
non-classical monocytes
Supplementary Figure S9
Overview on age and FcRIIa / FcRIIIa haplotypes with respect to ABC values for FcRIIb.
Depicted is the age and haplotype together with the respective FcRIIb expression values shown exemplary for the non-classical monocytes.
In A) the age of the donors upon blood donation is shown. In B) the respective FcRIIa and FcRIIIa haplotypes pertaining to the individual samples are depicted. The color of the left side of the individual symbols reflects the R/R low affinity (red) or H/R heterozygous (light blue) and H/H homozygous (blue) high affinity FcRIIa haplotype; the color of the right side reveals the FcRIIIa haplotype (F/F, red; V/F, light blue; V/V blue). Samples 1-10 are derived from a random cohort, 11-16 from a cohort selected to contain two representatives of each of the FcRIIIa haplotypes 158 V/V, 158 V/F and 158 F/F.
Supplementary Figure S9

## Slide 14
donor:
classical monocytes
non-classical monocytes
eosinophils
classical monocytes
eosinophils
a
b
c
d
e
f
a
b
c
d
e
f
donor:
FcRIIIa:
FcRIIa:
A
B
Supplementary Figure 10
basophils
FcRI
FcRIIa
FcRIII
FcRIIb
non-classical monocytes
basophils
a
b
c
d
e
f
a
b
c
d
e
f
a
b
c
d
e
f
C
a
V/V
H/R
b
V/V
H/R
c
F/V
H/R
d
F/V
H/R
e
F/F
H/R
f
F/F
R/R

## Slide 15
Supplementary Figure 10:
Individual FcγR expression patterns.
Depicted are anti-FcR binding sites for Fc receptors I (black), IIa (purple), III (orange) and inhibitory IIb (red) on classical and non-classical monocytes, eosinophils and basophils - of individual donors. Respective fractions among all activating FcR are depicted in A). In B) absolute numbers of respective anti-FcR antibody binding sites are shown. In C) FcRIIa and FcRIIIa haplotypes of the individual donors are presented.