Supplementary Material

Supplementary Figures and Tables

Supplementary Figures

Supplementary Figure 1. (a) Absorption bands of CO and N2O provided by the database in the range of 1800-3000 cm-1. (b) Absorption lines of selected CO and N2O and other interfering gases at low pressure.

Supplementary Figure 2. (a) Block diagram of CO and N2O sensor system, which mainly consists of an optical module and an electrical module. (b) Photograph of CO and N2O sensor optical module. (c) Schematic of the beam tracing using alignment laser. (d) Photograph of CO and N2O sensor electrical module.

Supplementary Figure 3. (a) Block diagram of QCL driver circuit. (b) Voltage driver signal waveform. (c) Photograph of the self-developed board-level QCL driver and demodulation circuit. (d) Block diagram of demodulation circuit.

Supplementary Figure 4. (a) Absorption lines of CO and N2O at different concentrations detected by the sensor, in agreement with the information given in the database. (b) Absorption lines of mixed ratios of CO and N2O detected by the sensor.

Supplementary Figure 5. (a) The 2f signal at CO concentrations of 50-1000 ppb and the linear relationship between the set concentrations of CO and its 2f peak-to-peak value. (b) The 2f signal at N2O concentrations of 200-2500 ppb and the linear relationship between the set concentrations of N2O and its 2f peak-to-peak value.

Supplementary Figure 6. (a) Comparison of the set values and predicted results of the BP neural network, PLS and PSO-KELM algorithms. (b) Error comparison of the set values and predicted results of the BP neural network, PLS and PSO-KELM algorithms.

Supplementary Figure 7. (a) Different concentrations of N2O interfere with 100 ppb of CO. (b) Different concentrations of CO interfere with 300 ppb of N2O.

Supplementary Figure 8. (a) 60 mins measurement results of CO at constant concentration. (b) 60 mins measurement results of N2O at constant concentration. (c) Allan variance analysis of the sensor based on the data shown in Figure.8(a). (d) Allan variance analysis of the sensor based on the data shown in Figure.8(b).

Supplementary Figure 9. (a) Photograph of the sensor for the field deployment.

Supplementary Figure 9. (b) The real-time measured concentrations of the sensor.

Supplementary Tables

Supplementary Table 1 Comparison of fitting precision of BP neural network, PLS and PSO-KELM algorithms for step test of N2O gas.

| Algorithm | RMSE/ppb | R2 |
| --- | --- | --- |
| PSO-KELM | 11.688 | 0.9997 |
| BP neural network | 36.757 | 0.9975 |
| PLS | 60.078 | 0.9683 |